## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 13.02.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 22.02.2024
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2 |  |  | created by: | K. Bodei
contact person: | H. Rhein, R. Kulpa, M. Lažan |  |  |  | pollutant: | NO2 |  | date: | 19.02.2024 |  |  | checked on: | 26.02.2024
project: | Ostrava, Senzorvzduchu, 2024 |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | T. Hangartner
reference: | 2024-01-01 |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012402
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate corrected for actual conditions (T); further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Českobratrská (referenční bod) | DDU-3739 | 44824 | 2024-01-02 | 18:44 | 2024-02-03 | 16:15 | 765.5167 | 0.002 | 1:2 | 0.17 | 0.75111 | 22.3 | specs not met: exp. time;
Hrabůvka zastávka | 3719 | 44824 | 2024-01-02 | 16:30 | 2024-02-03 | 14:29 | 765.9833 | 0.002 | 1:2 | 0.146 | 0.64444 | 19.1 | specs not met: exp. time;
Hrabůvka odborářská ulice | 3702 | 44824 | 2024-01-02 | 16:38 | 2024-02-03 | 14:20 | 765.7 | 0.002 | 1:2 | 0.123 | 0.54222 | 16.1 | specs not met: exp. time;
Hlučínská / Koksární | 3723 | 44824 | 2024-01-02 | 18:15 | 2024-02-03 | 15:35 | 765.3333 | 0.002 | 1:2 | 0.226 | 1 | 29.7 | specs not met: exp. time;
Sokolská Soud | 3729 | 44824 | 2024-01-02 | 18:35 | 2024-02-03 | 15:43 | 765.1333 | 0.002 | 1:2 | 0.18 | 0.79556 | 23.6 | specs not met: exp. time;
Bělský les - přechod | 3770 | 44824 | 2024-01-02 | 17:10 | 2024-02-03 | 14:39 | 765.4833 | 0.002 | 1:2 | 0.144 | 0.63556 | 18.9 | specs not met: exp. time;
Bílovecká - (Svinov) | 3732 | 44824 | 2024-01-02 | 18:12 | 2024-02-03 | 15:25 | 765.2167 | 0.002 | 1:2 | 0.131 | 0.57778 | 17.1 | specs not met: exp. time;
Rudná / Zkrácená | 3703 | 44824 | 2024-01-02 | 17:38 | 2024-02-03 | 14:55 | 765.2833 | 0.002 | 1:2 | 0.188 | 0.83111 | 24.7 | specs not met: exp. time;
Rudná 2 | 3727 | 44824 | 2024-01-02 | 17:45 | 2024-02-03 | 15:03 | 765.3 | 0.002 | 1:2 | 0.199 | 0.88 | 26.1 | specs not met: exp. time;
17. Listopadu Poruba | 3708 | 44824 | 2024-01-02 | 17:55 | 2024-02-03 | 15:14 | 765.3167 | 0.002 | 1:2 | 0.201 | 0.88889 | 26.4 | specs not met: exp. time;

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012402
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Českobratrská (referenční bod) | DDU-3739 | 2024-01-02 | 18:44 | 2024-02-03 | 16:15 |  |  | OVA1
Hrabůvka zastávka | 3719 | 2024-01-02 | 16:30 | 2024-02-03 | 14:29 |  |  | OVA2
Hrabůvka odborářská ulice | 3702 | 2024-01-02 | 16:38 | 2024-02-03 | 14:20 |  |  | OVA3
Hlučínská / Koksární | 3723 | 2024-01-02 | 18:15 | 2024-02-03 | 15:35 |  |  | OVA4
Sokolská Soud | 3729 | 2024-01-02 | 18:35 | 2024-02-03 | 15:43 |  |  | OVA5
Bělský les - přechod | 3770 | 2024-01-02 | 17:10 | 2024-02-03 | 14:39 |  |  | OVA6
Bílovecká - (Svinov) | 3732 | 2024-01-02 | 18:12 | 2024-02-03 | 15:25 |  |  | OVA7
Rudná / Zkrácená | 3703 | 2024-01-02 | 17:38 | 2024-02-03 | 14:55 |  |  | OVA8
Rudná 2 | 3727 | 2024-01-02 | 17:45 | 2024-02-03 | 15:03 |  |  | OVA9
17. Listopadu Poruba | 3708 | 2024-01-02 | 17:55 | 2024-02-03 | 15:14 |  |  | OVA10