## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Czech Hydrometeorological Institute |  |  |  | date received: | 08.02.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 15.02.2024
customer ID: | TMP |  |  |  | type: | tube (Palms) |  | analyte: | NO2 |  |  | created by: | K. Bodei
contact person: | Mr. Ondřej Vlček |  |  |  | pollutant: | NO2 |  | date: | 12.02.2024 |  |  | checked on: | 15.02.2024
project: | Prague 2024, CHMI |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | T. Hangartner
reference: | January - results corrected to meteo |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | TMP012401b
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate corrected for actual conditions (T); further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Legerova AIM c | TMP-24 | 45251 | 2024-01-03 | 7:42 | 2024-02-01 | 8:05 | 696.3833 | 0.001 | 1:2 | 0.234 | 1.0378 | 38.1
Legerova AIM c - kryt Passam | 28 | 45251 | 2024-01-03 | 7:44 | 2024-02-01 | 8:06 | 696.3667 | 0.001 | 1:2 | 0.217 | 0.96222 | 35.3
nám. Republiky AIM c | 21 | 45251 | 2024-01-03 | 10:17 | 2024-02-01 | 10:12 | 695.9167 | 0.001 | 1:2 | 0.179 | 0.79333 | 29.2
ZŠ a MŠ Grafická | 2 | 45251 | 2024-01-03 | 11:03 | 2024-02-01 | 9:10 | 694.1167 | 0.001 | 1:2 | 0.186 | 0.82444 | 30.4
Gymnázium Na Zatlance | 42 | 45251 | 2024-01-03 | 11:28 | 2024-02-01 | 9:30 | 694.0333 | 0.001 | 1:2 | 0.186 | 0.82444 | 30.4
SPŠE Ječná | 47 | 45251 | 2024-01-03 | 8:21 | 2024-02-01 | 8:20 | 695.9833 | 0.001 | 1:2 | 0.177 | 0.78444 | 28.8
G, SOŠ, ZŠ, MŠ sluch. post. | 29 | 45251 | 2024-01-03 | 8:44 | 2024-02-01 | 8:27 | 695.7167 | 0.001 | 1:2 | 0.204 | 0.90444 | 33.2
MŠ Jílkova | 1 | 45251 | 2024-01-03 | 15:10 | 2024-02-01 | 13:08 | 693.9667 | 0.001 | 1:2 | 0.145 | 0.64222 | 23.7
Ječná 39 c | 16 | 45251 | 2024-01-03 | 8:04 | 2024-02-01 | 8:35 | 696.5167 | 0.001 | 1:2 | 0.365 | 1.62 | 59.5
J.Želivského / Biskupcova c | 4 | 45251 | 2024-01-03 | 16:01 | 2024-02-01 | 10:42 | 690.6833 | 0.001 | 1:2 | 0.299 | 1.3267 | 49.1
Žitomirova | 8 | 45251 | 2024-01-03 | 7:24 | 2024-02-01 | 7:46 | 696.3667 | 0.001 | 1 | 0.001 | < 0.01 | < 0.2

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement TMP012401b
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Legerova AIM c | TMP-24 | 2024-01-03 | 7:42 | 2024-02-01 | 8:05 | 1.35 | 988.36 | PRG01_C
Legerova AIM c - kryt Passam | 28 | 2024-01-03 | 7:44 | 2024-02-01 | 8:06 | 1.35 | 988.36 | PRG01_CP
nám. Republiky AIM c | 21 | 2024-01-03 | 10:17 | 2024-02-01 | 10:12 | 1.35 | 988.36 | PRG09_C
ZŠ a MŠ Grafická | 2 | 2024-01-03 | 11:03 | 2024-02-01 | 9:10 | 1.35 | 988.36 | PRG20
Gymnázium Na Zatlance | 42 | 2024-01-03 | 11:28 | 2024-02-01 | 9:30 | 1.35 | 988.36 | PRG21
SPŠE Ječná | 47 | 2024-01-03 | 8:21 | 2024-02-01 | 8:20 | 1.35 | 988.36 | PRG22
G, SOŠ, ZŠ, MŠ sluch. post. | 29 | 2024-01-03 | 8:44 | 2024-02-01 | 8:27 | 1.35 | 988.36 | PRG23
MŠ Jílkova | 1 | 2024-01-03 | 15:10 | 2024-02-01 | 13:08 | 1.35 | 988.36 | PRG24
Ječná 39 c | 16 | 2024-01-03 | 8:04 | 2024-02-01 | 8:35 | 1.35 | 988.36 | PRG02_CM
J.Želivského / Biskupcova c | 4 | 2024-01-03 | 16:01 | 2024-02-01 | 10:42 | 1.35 | 988.36 | PRG14_CM
Žitomirova | 8 | 2024-01-03 | 7:24 | 2024-02-01 | 7:46 | 1.35 | 988.36 | PRG25