## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 08.02.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 27.02.2024
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2 |  |  | created by: | K. Bodei
contact person: | H. Rhein, R. Kulpa, M. Lažan |  |  |  | pollutant: | NO2 |  | date: | 12.02.2024 |  |  | checked on: | 28.02.2024
project: | Prague 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | T. Hangartner
reference: | 2024-01-01 |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012401a
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate corrected for actual conditions (T); further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Legerova AIM | DDU-3758 | 44824 | 2024-01-03 | 7:34 | 2024-02-01 | 8:02 | 696.4667 | 0.002 | 1:2 | 0.229 | 1.0133 | 37.2
Ječná 39 | 3728 | 44824 | 2024-01-03 | 8:05 | 2024-02-01 | 8:35 | 696.5 | 0.002 | 1:2 | 0.325 | 1.44 | 52.9
Ječná / Štěpánská | 3704 | 44824 | 2024-01-03 | 8:55 | 2024-02-01 | 8:48 | 695.8833 | 0.002 | 1:2 | 0.301 | 1.3333 | 49
V Botanice 4 (KÚ) | 3745 | 44824 | 2024-01-03 | 9:12 | 2024-02-01 | 9:01 | 695.8167 | 0.002 | 1:2 | 0.266 | 1.1778 | 43.3
Plzeňská 38a | 3800 | 44824 | 2024-01-03 | 9:23 | 2024-02-01 | 9:17 | 695.9 | 0.002 | 1:2 | 0.3 | 1.3289 | 48.8
Radlická / Klicperova | 3744 | 44824 | 2024-01-03 | 9:32 | 2024-02-01 | 9:36 | 696.0667 | 0.002 | 1:2 | 0.284 | 1.2578 | 46.2
Újezd | 3735 | 44824 | 2024-01-03 | 9:45 | 2024-02-01 | 9:50 | 696.0833 | 0.002 | 1:2 | 0.197 | 0.87111 | 32
Smetanovo nábřeží | 3731 | 44824 | 2024-01-03 | 9:58 | 2024-02-01 | 9:59 | 696.0167 | 0.002 | 1:2 | 0.284 | 1.2578 | 46.2
nám. Republiky AIM | 3757 | 44824 | 2024-01-03 | 10:17 | 2024-02-01 | 10:12 | 695.9167 | 0.002 | 1:2 | 0.172 | 0.76 | 27.9
Florenc | 3798 | 44824 | 2024-01-03 | 10:32 | 2024-02-01 | 10:21 | 695.8167 | 0.002 | 1:2 | 0.306 | 1.3556 | 49.8
Veletržní/Sochařská | 3710 | 44824 | 2024-01-03 | 14:34 | 2024-02-01 | 12:50 | 694.2667 | 0.002 | 1:2 | 0.246 | 1.0889 | 40.1
Československé armády | 3786 | 44824 | 2024-01-03 | 14:48 | 2024-02-01 | 12:58 | 694.1667 | 0.002 | 1:2 | 0.229 | 1.0133 | 37.3
Patočkova | 3763 | 44824 | 2024-01-03 | 15:02 | 2024-02-01 | 18:13 | 699.1833 | 0.002 | 1:2 | 0.235 | 1.04 | 38
J.Želivského / Biskupcova | 3746 | 44824 | 2024-01-03 | 16:01 | 2024-02-01 | 10:35 | 690.5667 | 0.002 | 1:2 | 0.284 | 1.2578 | 46.6
Flora-mall | 3772 | 44824 | 2024-01-03 | 17:21 | 2024-02-01 | 10:54 | 689.55 | 0.002 | 1:2 | 0.231 | 1.0222 | 37.9
Bělocerkevská | 3711 | 44824 | 2024-01-03 | 16:27 | 2024-02-01 | 13:59 | 693.5333 | 0.002 | 1:2 | 0.249 | 1.1022 | 40.6
V Holešovičkách 36 | 3795 | 44824 | 2024-01-03 | 15:36 | 2024-02-01 | 13:30 | 693.9 | 0.002 | 1:2 | 0.318 | 1.4089 | 51.9
Na Truhlářce 60 | 3740 | 44824 | 2024-01-03 | 15:43 | 2024-02-01 | 13:35 | 693.8667 | 0.002 | 1:2 | 0.179 | 0.79111 | 29.2
Spořilov, Prague | 3749 | 44824 | 2024-01-03 | 16:40 | 2024-02-01 | 14:10 | 693.5 | 0.002 | 1:2 | 0.261 | 1.1556 | 42.6

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012401a
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Legerova AIM | DDU-3758 | 2024-01-03 | 7:34 | 2024-02-01 | 8:02 | 1.35 | 988.36 | PRG01
Ječná 39 | 3728 | 2024-01-03 | 8:05 | 2024-02-01 | 8:35 | 1.35 | 988.36 | PRG02
Ječná / Štěpánská | 3704 | 2024-01-03 | 8:55 | 2024-02-01 | 8:48 | 1.35 | 988.36 | PRG03
V Botanice 4 (KÚ) | 3745 | 2024-01-03 | 9:12 | 2024-02-01 | 9:01 | 1.35 | 988.36 | PRG04
Plzeňská 38a | 3800 | 2024-01-03 | 9:23 | 2024-02-01 | 9:17 | 1.35 | 988.36 | PRG05
Radlická / Klicperova | 3744 | 2024-01-03 | 9:32 | 2024-02-01 | 9:36 | 1.35 | 988.36 | PRG06
Újezd | 3735 | 2024-01-03 | 9:45 | 2024-02-01 | 9:50 | 1.35 | 988.36 | PRG07
Smetanovo nábřeží | 3731 | 2024-01-03 | 9:58 | 2024-02-01 | 9:59 | 1.35 | 988.36 | PRG08
nám. Republiky AIM | 3757 | 2024-01-03 | 10:17 | 2024-02-01 | 10:12 | 1.35 | 988.36 | PRG09
Florenc | 3798 | 2024-01-03 | 10:32 | 2024-02-01 | 10:21 | 1.35 | 988.36 | PRG10
Veletržní/Sochařská | 3710 | 2024-01-03 | 14:34 | 2024-02-01 | 12:50 | 1.35 | 988.36 | PRG11
Československé armády | 3786 | 2024-01-03 | 14:48 | 2024-02-01 | 12:58 | 1.35 | 988.36 | PRG12
Patočkova | 3763 | 2024-01-03 | 15:02 | 2024-02-01 | 18:13 | 1.35 | 988.36 | PRG13
J.Želivského / Biskupcova | 3746 | 2024-01-03 | 16:01 | 2024-02-01 | 10:35 | 1.35 | 988.36 | PRG14
Flora-mall | 3772 | 2024-01-03 | 17:21 | 2024-02-01 | 10:54 | 1.35 | 988.36 | PRG15
Bělocerkevská | 3711 | 2024-01-03 | 16:27 | 2024-02-01 | 13:59 | 1.35 | 988.36 | PRG16
V Holešovičkách 36 | 3795 | 2024-01-03 | 15:36 | 2024-02-01 | 13:30 | 1.35 | 988.36 | PRG17
Na Truhlářce 60 | 3740 | 2024-01-03 | 15:43 | 2024-02-01 | 13:35 | 1.35 | 988.36 | PRG18
Spořilov, Prague | 3749 | 2024-01-03 | 16:40 | 2024-02-01 | 14:10 | 1.35 | 988.36 | PRG19