## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 12.03.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 15.03.2024
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | H. Rhein, R. Kulpa, M. Lažan, N. Carić |  |  |  | pollutant: | NO2 |  | date: | 14.03.2024 |  |  | checked on: | 19.03.2024
project: | Ostrava 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | T. Hangartner
reference: | February 2024 results corrected to meteo |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012404b
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate corrected for actual conditions (T); further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Českobratrská (referenční bod) | DDU-3742 | 44824 | 2024-02-03 | 16:16 | 2024-03-03 | 16:12 | 695.9333 | 0.002 | 1:2 | 0.222 | 0.98222 | 34.7
Hrabůvka zastávka | 3750 | 44824 | 2024-02-03 | 14:29 | 2024-03-03 | 14:38 | 696.15 | 0.002 | 1:2 | 0.146 | 0.64444 | 22.8
Hrabůvka odborářská ulice | 3762 | 44824 | 2024-02-03 | 14:23 | 2024-03-03 | 14:33 | 696.1667 | 0.002 | 1:2 | 0.166 | 0.73333 | 25.9
Hlučínská / Koksární | 3733 | 44824 | 2024-02-03 | 15:35 | 2024-03-03 | 15:56 | 696.35 | 0.002 | 1:2 | 0.215 | 0.95111 | 33.6
Sokolská Soud | 3726 | 44824 | 2024-02-03 | 15:43 | 2024-03-03 | 16:06 | 696.3833 | 0.002 | 1:2 | 0.202 | 0.89333 | 31.5
Bělský les - přechod | 3753 | 44824 | 2024-02-03 | 14:39 | 2024-03-03 | 14:51 | 696.2 | 0.002 | 1:2 | 0.153 | 0.67556 | 23.9
Bílovecká - (Svinov) | 3709 | 44824 | 2024-02-03 | 15:25 | 2024-03-03 | 15:40 | 696.25 | 0.002 | 1:2 | 0.167 | 0.73778 | 26.1
Rudná / Zkrácená | 3705 | 44824 | 2024-02-03 | 14:55 | 2024-03-03 | 15:05 | 696.1667 | 0.002 | 1:2 | 0.191 | 0.84444 | 29.8
Rudná 2 | 3741 | 44824 | 2024-02-03 | 15:03 | 2024-03-03 | 15:19 | 696.2667 | 0.002 | 1:2 | 0.217 | 0.96 | 33.9
17. Listopadu Poruba | 3765 | 44824 | 2024-02-03 | 15:14 | 2024-03-03 | 15:25 | 696.1833 | 0.002 | 1:2 | 0.201 | 0.88889 | 31.4

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012404b
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Českobratrská (referenční bod) | DDU-3742 | 2024-02-03 | 16:16 | 2024-03-03 | 16:12 | 7.41 | 983.08 | OVA1
Hrabůvka zastávka | 3750 | 2024-02-03 | 14:29 | 2024-03-03 | 14:38 | 7.41 | 983.08 | OVA2
Hrabůvka odborářská ulice | 3762 | 2024-02-03 | 14:23 | 2024-03-03 | 14:33 | 7.41 | 983.08 | OVA3
Hlučínská / Koksární | 3733 | 2024-02-03 | 15:35 | 2024-03-03 | 15:56 | 7.41 | 983.08 | OVA4
Sokolská Soud | 3726 | 2024-02-03 | 15:43 | 2024-03-03 | 16:06 | 7.41 | 983.08 | OVA5
Bělský les - přechod | 3753 | 2024-02-03 | 14:39 | 2024-03-03 | 14:51 | 7.41 | 983.08 | OVA6
Bílovecká - (Svinov) | 3709 | 2024-02-03 | 15:25 | 2024-03-03 | 15:40 | 7.41 | 983.08 | OVA7
Rudná / Zkrácená | 3705 | 2024-02-03 | 14:55 | 2024-03-03 | 15:05 | 7.41 | 983.08 | OVA8
Rudná 2 | 3741 | 2024-02-03 | 15:03 | 2024-03-03 | 15:19 | 7.41 | 983.08 | OVA9
17. Listopadu Poruba | 3765 | 2024-02-03 | 15:14 | 2024-03-03 | 15:25 | 7.41 | 983.08 | OVA10