## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 12.03.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 15.03.2024
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | H. Rhein, R. Kulpa, M. Lažan |  |  |  | pollutant: | NO2 |  | date: | 14.03.2024 |  |  | checked on: | 19.03.2024
project: | Prague 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | T. Hangartner
reference: | February 2024 results corrected to meteo |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012403b
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate corrected for actual conditions (T); further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Legerova AIM | DDU-3788 | 44824 | 2024-02-01 | 8:02 | 2024-03-01 | 7:43 | 695.6833 | 0.002 | 1:2 | 0.211 | 0.93333 | 33
Ječná 39 | 3712 | 44824 | 2024-02-01 | 8:35 | 2024-03-01 | 7:56 | 695.35 | 0.002 | 1:2 | 0.328 | 1.4533 | 51.4
Ječná / Štěpánská | 3720 | 44824 | 2024-02-01 | 8:48 | 2024-03-01 | 8:23 | 695.5833 | 0.002 | 1:2 | 0.306 | 1.3556 | 48
V Botanice 4 (KÚ) | 3718 | 44824 | 2024-02-01 | 9:01 | 2024-03-01 | 8:40 | 695.65 | 0.002 | 1:2 | 0.266 | 1.1778 | 41.7
Plzeňská 38a | 3769 | 44824 | 2024-02-01 | 9:17 | 2024-03-01 | 8:53 | 695.6 | 0.002 | 1:2 | 0.328 | 1.4533 | 51.4
Radlická / Klicperova | 3781 | 44824 | 2024-02-01 | 9:36 | 2024-03-01 | 9:25 | 695.8167 | 0.002 | 1:2 | 0.348 | 1.5422 | 54.5
Újezd | 3794 | 44824 | 2024-02-01 | 9:50 | 2024-03-01 | 9:36 | 695.7667 | 0.002 | 1:2 | 0.18 | 0.79556 | 28.1
Smetanovo nábřeží | 3736 | 44824 | 2024-02-01 | 9:59 | 2024-03-01 | 9:50 | 695.85 | 0.002 | 1:2 | 0.282 | 1.2489 | 44.2
nám. Republiky AIM | 3789 | 44824 | 2024-02-01 | 10:12 | 2024-03-01 | 10:05 | 695.8833 | 0.002 | 1:2 | 0.138 | 0.60889 | 21.5
Florenc | 3779 | 44824 | 2024-02-01 | 10:21 | 2024-03-01 | 10:15 | 695.9 | 0.002 | 1:2 | 0.278 | 1.2311 | 43.5
Veletržní/Sochařská | 3799 | 44824 | 2024-02-01 | 12:50 | 2024-03-01 | 12:53 | 696.05 | 0.002 | 1:2 | 0.245 | 1.0844 | 38.3
Československé armády | 3771 | 44824 | 2024-02-01 | 12:58 | 2024-03-01 | 13:06 | 696.1333 | 0.002 | 1:2 | 0.221 | 0.97778 | 34.6
Patočkova | 3748 | 44824 | 2024-02-01 | 13:13 | 2024-03-01 | 13:23 | 696.1667 | 0.002 | 1:2 | 0.238 | 1.0533 | 37.2
J.Želivského / Biskupcova | 3714 | 44824 | 2024-02-01 | 10:35 | 2024-03-01 | 10:30 | 695.9167 | 0.002 | 1:2 | 0.266 | 1.1778 | 41.6
Flora-mall | 3751 | 44824 | 2024-02-01 | 10:54 | 2024-03-01 | 10:43 | 695.8167 | 0.002 | 1:2 | 0.226 | 1 | 35.4
Bělocerkevská | 3713 | 44824 | 2024-02-01 | 13:59 | 2024-03-01 | 14:22 | 696.3833 | 0.002 | 1:2 | 0.218 | 0.96444 | 34.1
V Holešovičkách 36 | 3716 | 44824 | 2024-02-01 | 13:30 | 2024-03-01 | 13:47 | 696.2833 | 0.002 | 1:2 | 0.387 | 1.7156 | 60.6
Na Truhlářce 60 | 3722 | 44824 | 2024-02-01 | 13:35 | 2024-03-01 | 13:52 | 696.2833 | 0.002 | 1:2 | 0.172 | 0.76 | 26.9
Spořilov, Prague | 3707 | 44824 | 2024-02-01 | 14:10 | 2024-03-01 | 14:39 | 696.4833 | 0.002 | 1:2 | 0.223 | 0.98667 | 34.9

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012403b
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Legerova AIM | DDU-3788 | 2024-02-01 | 8:02 | 2024-03-01 | 7:43 | 7.28 | 982.63 | PRG01
Ječná 39 | 3712 | 2024-02-01 | 8:35 | 2024-03-01 | 7:56 | 7.28 | 982.63 | PRG02
Ječná / Štěpánská | 3720 | 2024-02-01 | 8:48 | 2024-03-01 | 8:23 | 7.28 | 982.63 | PRG03
V Botanice 4 (KÚ) | 3718 | 2024-02-01 | 9:01 | 2024-03-01 | 8:40 | 7.28 | 982.63 | PRG04
Plzeňská 38a | 3769 | 2024-02-01 | 9:17 | 2024-03-01 | 8:53 | 7.28 | 982.63 | PRG05
Radlická / Klicperova | 3781 | 2024-02-01 | 9:36 | 2024-03-01 | 9:25 | 7.28 | 982.63 | PRG06
Újezd | 3794 | 2024-02-01 | 9:50 | 2024-03-01 | 9:36 | 7.28 | 982.63 | PRG07
Smetanovo nábřeží | 3736 | 2024-02-01 | 9:59 | 2024-03-01 | 9:50 | 7.28 | 982.63 | PRG08
nám. Republiky AIM | 3789 | 2024-02-01 | 10:12 | 2024-03-01 | 10:05 | 7.28 | 982.63 | PRG09
Florenc | 3779 | 2024-02-01 | 10:21 | 2024-03-01 | 10:15 | 7.28 | 982.63 | PRG10
Veletržní/Sochařská | 3799 | 2024-02-01 | 12:50 | 2024-03-01 | 12:53 | 7.28 | 982.63 | PRG11
Československé armády | 3771 | 2024-02-01 | 12:58 | 2024-03-01 | 13:06 | 7.28 | 982.63 | PRG12
Patočkova | 3748 | 2024-02-01 | 13:13 | 2024-03-01 | 13:23 | 7.28 | 982.63 | PRG13
J.Želivského / Biskupcova | 3714 | 2024-02-01 | 10:35 | 2024-03-01 | 10:30 | 7.28 | 982.63 | PRG14
Flora-mall | 3751 | 2024-02-01 | 10:54 | 2024-03-01 | 10:43 | 7.28 | 982.63 | PRG15
Bělocerkevská | 3713 | 2024-02-01 | 13:59 | 2024-03-01 | 14:22 | 7.28 | 982.63 | PRG16
V Holešovičkách 36 | 3716 | 2024-02-01 | 13:30 | 2024-03-01 | 13:47 | 7.28 | 982.63 | PRG17
Na Truhlářce 60 | 3722 | 2024-02-01 | 13:35 | 2024-03-01 | 13:52 | 7.28 | 982.63 | PRG18
Spořilov, Prague | 3707 | 2024-02-01 | 14:10 | 2024-03-01 | 14:39 | 7.28 | 982.63 | PRG19