## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 15.04.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 18.04.2024
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | H. Rhein, R. Kulpa, M. Lažan, N. Carić |  |  |  | pollutant: | NO2 |  | date: | 16.04.2024 |  |  | checked on: | 19.04.2024
project: | Ostrava 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | T. Hangartner
reference: | 2024-03-01 |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012407a
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Českobratrská (referenční bod) | DDU-3721 | 44824 | 2024-03-03 | 16:15 | 2024-03-31 | 17:12 | 672.95 | 0.002 | 1:2 | 0.218 | 0.96444 | 32.542
Hrabůvka zastávka | 3778 | 44824 | 2024-03-03 | 14:46 | 2024-03-31 | 15:05 | 672.3167 | 0.002 | 1:2 | 0.153 | 0.67556 | 22.816
Hrabůvka odborářská ulice | 3797 | 44824 | 2024-03-03 | 14:35 | 2024-03-31 | 14:55 | 672.3333 | 0.002 | 1:2 | 0.096 | 0.42222 | 14.26
Hlučínská / Koksární | 3747 | 44824 | 2024-03-03 | 15:55 | 2024-03-31 | 16:40 | 672.75 | 0.002 | 1:2 | 0.186 | 0.82222 | 27.752
Sokolská Soud | 3773 | 44824 | 2024-03-03 | 16:07 | 2024-03-31 | 16:53 | 672.7667 | 0.002 | 1:2 | 0.147 | 0.64889 | 21.901
Bělský les - přechod | 3706 | 44824 | 2024-03-03 | 14:51 | 2024-03-31 | 15:15 | 672.4 | 0.002 | 1:2 | 0.177 | 0.78222 | 26.415
Bílovecká - (Svinov) | 3760 | 44824 | 2024-03-03 | 15:41 | 2024-03-31 | 16:25 | 672.7333 | 0.002 | 1:2 | 0.174 | 0.76889 | 25.952
Rudná / Zkrácená | 3738 | 44824 | 2024-03-03 | 15:07 | 2024-03-31 | 15:30 | 672.3833 | 0.002 | 1:2 | 0.15 | 0.66222 | 22.363
Rudná 2 | 3715 | 44824 | 2024-03-03 | 15:20 | 2024-03-31 | 15:39 | 672.3167 | 0.002 | 1:2 | 0.155 | 0.68444 | 23.116
17. Listopadu Poruba | 3734 | 44824 | 2024-03-03 | 15:26 | 2024-03-31 | 16:10 | 672.7333 | 0.002 | 1:2 | 0.175 | 0.77333 | 26.102

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012407a
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Českobratrská (referenční bod) | DDU-3721 | 2024-03-03 | 16:15 | 2024-03-31 | 17:12 | 8.29 | 983.2 | OVA1
Hrabůvka zastávka | 3778 | 2024-03-03 | 14:46 | 2024-03-31 | 15:05 | 8.29 | 983.2 | OVA2
Hrabůvka odborářská ulice | 3797 | 2024-03-03 | 14:35 | 2024-03-31 | 14:55 | 8.29 | 983.2 | OVA3
Hlučínská / Koksární | 3747 | 2024-03-03 | 15:55 | 2024-03-31 | 16:40 | 8.29 | 983.2 | OVA4
Sokolská Soud | 3773 | 2024-03-03 | 16:07 | 2024-03-31 | 16:53 | 8.29 | 983.2 | OVA5
Bělský les - přechod | 3706 | 2024-03-03 | 14:51 | 2024-03-31 | 15:15 | 8.29 | 983.2 | OVA6
Bílovecká - (Svinov) | 3760 | 2024-03-03 | 15:41 | 2024-03-31 | 16:25 | 8.29 | 983.2 | OVA7
Rudná / Zkrácená | 3738 | 2024-03-03 | 15:07 | 2024-03-31 | 15:30 | 8.29 | 983.2 | OVA8
Rudná 2 | 3715 | 2024-03-03 | 15:20 | 2024-03-31 | 15:39 | 8.29 | 983.2 | OVA9
17. Listopadu Poruba | 3734 | 2024-03-03 | 15:26 | 2024-03-31 | 16:10 | 8.29 | 983.2 | OVA10