## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Czech Hydrometeorological Institute |  |  |  | date received: | 08.04.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 09.04.2024
customer ID: | TMP |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | Mr. Ondřej Vlček |  |  |  | pollutant: | NO2 |  | date: | 08.04.2024 |  |  | checked on: | 09.04.2024
project: | Prague 2024, CHMI |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | T. Hangartner
reference: | March / results corrected to meteo |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | TMP012403b
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate corrected for actual conditions (T); further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Legerova AIM c | TMP-122 | 45251 | 2024-03-01 | 7:47 | 2024-03-27 | 11:19 | 627.5333 | 0.001 | 1:2 | 0.255 | 1.1311 | 44.1
Legerova AIM c - kryt Passam | 107 | 45251 | 2024-03-01 | 7:47 | 2024-03-27 | 11:19 | 627.5333 | 0.001 | 1:2 | 0.254 | 1.1267 | 43.9
nám. Republiky AIM c | 101 | 45251 | 2024-03-01 | 10:03 | 2024-03-27 | 9:57 | 623.9 | 0.001 | 1:2 | 0.179 | 0.79333 | 31.1
ZŠ a MŠ Grafická | 103 | 45251 | 2024-03-01 | 9:03 | 2024-03-27 | 8:54 | 623.85 | 0.001 | 1:2 | 0.188 | 0.83333 | 32.7
Gymnázium Na Zatlance | 118 | 45251 | 2024-03-01 | 9:17 | 2024-03-27 | 9:10 | 623.8833 | 0.001 | 1:2 | 0.186 | 0.82444 | 32.3
SPŠE Ječná | 119 | 45251 | 2024-03-01 | 8:08 | 2024-03-27 | 8:08 | 624 | 0.001 | 1:2 | 0.143 | 0.63333 | 24.8
G, SOŠ, ZŠ, MŠ sluch. post. | 115 | 45251 | 2024-03-01 | 8:13 | 2024-03-27 | 8:21 | 624.1333 | 0.001 | 1:2 | 0.16 | 0.70889 | 27.8
MŠ Jílkova | 124 | 45251 | 2024-03-01 | 13:30 | 2024-03-27 | 13:04 | 623.5667 | 0.001 | 1:2 | 0.146 | 0.64667 | 25.4
V Botanice 4 (KÚ) c | 125 | 45251 | 2024-03-01 | 8:42 | 2024-03-27 | 8:39 | 623.95 | 0.001 | 1:2 | 0.267 | 1.1844 | 46.4
Bělocerkevská c | 123 | 45251 | 2024-03-01 | 14:24 | 2024-03-27 | 14:10 | 623.7667 | 0.001 | 1:2 | 0.218 | 0.96667 | 37.9

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement TMP012403b
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Legerova AIM c | TMP-122 | 2024-03-01 | 7:47 | 2024-03-27 | 11:19 | 8.21 | 982.49 | PRG01_C
Legerova AIM c - kryt Passam | 107 | 2024-03-01 | 7:47 | 2024-03-27 | 11:19 | 8.21 | 982.49 | PRG01_CP
nám. Republiky AIM c | 101 | 2024-03-01 | 10:03 | 2024-03-27 | 9:57 | 8.21 | 982.49 | PRG09_C
ZŠ a MŠ Grafická | 103 | 2024-03-01 | 9:03 | 2024-03-27 | 8:54 | 8.21 | 982.49 | PRG20
Gymnázium Na Zatlance | 118 | 2024-03-01 | 9:17 | 2024-03-27 | 9:10 | 8.21 | 982.49 | PRG21
SPŠE Ječná | 119 | 2024-03-01 | 8:08 | 2024-03-27 | 8:08 | 8.21 | 982.49 | PRG22
G, SOŠ, ZŠ, MŠ sluch. post. | 115 | 2024-03-01 | 8:13 | 2024-03-27 | 8:21 | 8.21 | 982.49 | PRG23
MŠ Jílkova | 124 | 2024-03-01 | 13:30 | 2024-03-27 | 13:04 | 8.21 | 982.49 | PRG24
V Botanice 4 (KÚ) c | 125 | 2024-03-01 | 8:42 | 2024-03-27 | 8:39 | 8.21 | 982.49 | PRG04_CM
Bělocerkevská c | 123 | 2024-03-01 | 14:24 | 2024-03-27 | 14:10 | 8.21 | 982.49 | PRG16_CM