## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 14.05.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 15.05.2024
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | H. Rhein, R. Kulpa, M. Lažan, N. Carić |  |  |  | pollutant: | NO2 |  | date: | 14.05.2024 |  |  | checked on: | 17.05.2024
project: | Ostrava 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | T. Hangartner
reference: | 2024-04-01 |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012410a
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Českobratrská (referenční bod) | DDU-65 | 45245 | 2024-04-03 | 19:45 | 2024-05-04 | 17:36 | 741.85 | 0.001 | 1:2 | 0.263 | 1.1667 | 35.71
Hrabůvka zastávka | 70 | 45245 | 2024-04-03 | 19:25 | 2024-05-04 | 16:07 | 740.7 | 0.001 | 1:2 | 0.184 | 0.81556 | 25.002
Hrabůvka odborářská ulice | 78 | 45245 | 2024-04-03 | 19:20 | 2024-05-04 | 16:02 | 740.7 | 0.001 | 1:2 | 0.1 | 0.44222 | 13.557
Hlučínská / Koksární | 76 | 45245 | 2024-04-03 | 18:29 | 2024-05-04 | 17:20 | 742.85 | 0.001 | 1:2 | 0.195 | 0.86444 | 26.423
Sokolská Soud | 63 | 45245 | 2024-04-03 | 18:38 | 2024-05-04 | 17:27 | 742.8167 | 0.001 | 1:2 | 0.168 | 0.74444 | 22.756
Bělský les - přechod | 71 | 45245 | 2024-04-03 | 19:03 | 2024-05-04 | 16:15 | 741.2 | 0.001 | 1:2 | 0.213 | 0.94444 | 28.933
Bílovecká - (Svinov) | 51 | 45245 | 2024-04-03 | 18:15 | 2024-05-04 | 17:05 | 742.8333 | 0.001 | 1:2 | 0.171 | 0.75778 | 23.164
Rudná / Zkrácená | 95 | 45245 | 2024-04-03 | 16:38 | 2024-05-04 | 16:30 | 743.8667 | 0.001 | 1:2 | 0.157 | 0.69556 | 21.232
Rudná 2 | 80 | 45245 | 2024-04-03 | 16:46 | 2024-05-04 | 16:41 | 743.9167 | 0.001 | 1:2 | 0.18 | 0.79778 | 24.351
17. Listopadu Poruba | 94 |  | 2024-04-03 | 17:58 | [8 empty] | sampler not received

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012410a
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Českobratrská (referenční bod) | DDU-65 | 2024-04-03 | 19:45 | 2024-05-04 | 17:36 |  |  | OVA1
Hrabůvka zastávka | 70 | 2024-04-03 | 19:25 | 2024-05-04 | 16:07 |  |  | OVA2
Hrabůvka odborářská ulice | 78 | 2024-04-03 | 19:20 | 2024-05-04 | 16:02 |  |  | OVA3
Hlučínská / Koksární | 76 | 2024-04-03 | 18:29 | 2024-05-04 | 17:20 |  |  | OVA4
Sokolská Soud | 63 | 2024-04-03 | 18:38 | 2024-05-04 | 17:27 |  |  | OVA5
Bělský les - přechod | 71 | 2024-04-03 | 19:03 | 2024-05-04 | 16:15 |  |  | OVA6
Bílovecká - (Svinov) | 51 | 2024-04-03 | 18:15 | 2024-05-04 | 17:05 |  |  | OVA7
Rudná / Zkrácená | 95 | 2024-04-03 | 16:38 | 2024-05-04 | 16:30 |  |  | OVA8
Rudná 2 | 80 | 2024-04-03 | 16:46 | 2024-05-04 | 16:41 |  |  | OVA9
17. Listopadu Poruba | 94 | 2024-04-03 | 17:58 |  |  |  |  | sensor lost , OVA10