## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 13.06.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 19.06.2024
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | N. Spichtig
contact person: | H. Rhein, R. Kulpa, M. Lažan, N. Carić |  |  |  | pollutant: | NO2 |  | date: | 17.06.2024 |  |  | checked on: | 20.06.2024
project: | Ostrava 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | T. Hangartner
reference: | May 2024 - results corrected to meteo |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012418b
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate corrected for actual conditions (T); further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Českobratrská (referenční bod) | DDU-72 | 45245 | 2024-05-04 | 17:36 | 2024-06-02 | 14:29 | 692.8833 | 0.001 | 1:2 | 0.197 | 0.87333 | 29.4
Hrabůvka zastávka | 83 | 45245 | 2024-05-04 | 16:07 | 2024-06-02 | 14:50 | 694.7167 | 0.001 | 1:2 | 0.12 | 0.53111 | 17.8
Hrabůvka odborářská ulice | 77 | 45245 | 2024-05-04 | 16:02 | 2024-06-02 | 14:59 | 694.95 | 0.001 | 1:2 | 0.094 | 0.41556 | 13.9
Hlučínská / Koksární | 73 | 45245 | 2024-05-04 | 17:20 | 2024-06-02 | 14:08 | 692.8 | 0.001 | 1:2 | 0.171 | 0.75778 | 25.5
Sokolská Soud | 56 | 45245 | 2024-05-04 | 17:27 | 2024-06-02 | 14:18 | 692.85 | 0.001 | 1:2 | 0.127 | 0.56222 | 18.9
Bělský les - přechod | 68 | 45245 | 2024-05-04 | 16:15 | 2024-06-02 | 14:34 | 694.3167 | 0.001 | 1:2 | 0.199 | 0.88222 | 29.6
Bílovecká - (Svinov) | 81 | 45245 | 2024-05-04 | 17:05 | 2024-06-02 | 13:58 | 692.8833 | 0.001 | 1:2 | 0.163 | 0.72222 | 24.3
Rudná / Zkrácená | 60 | 45245 | 2024-05-04 | 16:30 | 2024-06-02 | 13:19 | 692.8167 | 0.001 | 1:2 | 0.146 | 0.64667 | 21.7
Rudná 2 | 93 | 45245 | 2024-05-04 | 16:41 | 2024-06-02 | 13:29 | 692.8 | 0.001 | 1:2 | 0.185 | 0.82 | 27.6
17. Listopadu Poruba | 99 | 45245 | 2024-05-04 | 15:26 | 2024-06-02 | 13:42 | 694.2667 | 0.001 | 1:2 | 0.173 | 0.76667 | 25.7

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012418b
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Českobratrská (referenční bod) | DDU-72 | 2024-05-04 | 17:36 | 2024-06-02 | 14:29 | 15.92 | 986.49 | OVA1
Hrabůvka zastávka | 83 | 2024-05-04 | 16:07 | 2024-06-02 | 14:50 | 15.92 | 986.49 | OVA2
Hrabůvka odborářská ulice | 77 | 2024-05-04 | 16:02 | 2024-06-02 | 14:59 | 15.92 | 986.49 | OVA3
Hlučínská / Koksární | 73 | 2024-05-04 | 17:20 | 2024-06-02 | 14:08 | 15.92 | 986.49 | OVA4
Sokolská Soud | 56 | 2024-05-04 | 17:27 | 2024-06-02 | 14:18 | 15.92 | 986.49 | OVA5
Bělský les - přechod | 68 | 2024-05-04 | 16:15 | 2024-06-02 | 14:34 | 15.92 | 986.49 | OVA6
Bílovecká - (Svinov) | 81 | 2024-05-04 | 17:05 | 2024-06-02 | 13:58 | 15.92 | 986.49 | OVA7
Rudná / Zkrácená | 60 | 2024-05-04 | 16:30 | 2024-06-02 | 13:19 | 15.92 | 986.49 | OVA8
Rudná 2 | 93 | 2024-05-04 | 16:41 | 2024-06-02 | 13:29 | 15.92 | 986.49 | OVA9
17. Listopadu Poruba | 99 | 2024-05-04 | 15:26 | 2024-06-02 | 13:42 | 15.92 | 986.49 | OVA10