## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Czech Hydrometeorological Institute |  |  |  | date received: | 14.06.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 19.06.2024
customer ID: | TMP |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | C. Panier
contact person: | Mr. Ondřej Vlček |  |  |  | pollutant: | NO2 |  | date: | 17.06.2024 |  |  | checked on: | 19.06.2024
project: | Prague 2024, CHMI |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | T. Hangartner
reference: | May 2024 results corrected to meteo |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | TMP012405b
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate corrected for actual conditions (T); further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Legerova AIM c | TMP-43 | 45251 | 2024-05-02 | 8:05 | 2024-05-31 | 8:01 | 695.9333 | 0.001 | 1:2 | 0.267 | 1.1844 | 39.5
Legerova AIM c - kryt Passam | 9 | 45251 | 2024-05-02 | 8:05 | 2024-05-31 | 8:01 | 695.9333 | 0.001 | 1:2 | 0.286 | 1.2689 | 42.3
nám. Republiky AIM c | 12 | 45251 | 2024-05-02 | 10:04 | 2024-05-31 | 10:05 | 696.0167 | 0.001 | 1 | 0.235 | 0.52 | 17.3
ZŠ a MŠ Grafická | 39 | 45251 | 2024-05-02 | 8:56 | 2024-05-31 | 8:59 | 696.05 | 0.001 | 1 | 0.283 | 0.62667 | 20.9
Gymnázium Na Zatlance | 3 | 45251 | 2024-05-02 | 9:12 | 2024-05-31 | 9:11 | 695.9833 | 0.001 | 1 | 0.347 | 0.76889 | 25.6
SPŠE Ječná | 34 | 45251 | 2024-05-02 | 8:17 | 2024-05-31 | 8:12 | 695.9167 | 0.001 | 1 | 0.214 | 0.47333 | 15.8
G, SOŠ, ZŠ, MŠ sluch. post. | 25 | 45251 | 2024-05-02 | 8:25 | 2024-05-31 | 8:21 | 695.9333 | 0.001 | 1 | 0.248 | 0.54889 | 18.3
MŠ Jílkova | 15 | 45251 | 2024-05-02 | 13:03 | 2024-05-31 | 13:06 | 696.05 | 0.001 | 1 | 0.254 | 0.56222 | 18.8
Radlickà/ Klicperova c | 33 | 45251 | 2024-05-02 | 9:21 | 2024-05-31 | 9:23 | 696.0333 | 0.001 | 1:2 | 0.3 | 1.3311 | 44.4
Na Truhlàrce 60c | 31 | 45251 | 2024-05-02 | 13:25 | 2024-05-31 | 13:29 | 696.0667 | 0.001 | 1 | 0.254 | 0.56222 | 18.8

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement TMP012405b
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Legerova AIM c | TMP-43 | 2024-05-02 | 8:05 | 2024-05-31 | 8:01 | 16.42 | 984.39 | PRG01_C
Legerova AIM c - kryt Passam | 9 | 2024-05-02 | 8:05 | 2024-05-31 | 8:01 | 16.42 | 984.39 | PRG01_CP
nám. Republiky AIM c | 12 | 2024-05-02 | 10:04 | 2024-05-31 | 10:05 | 16.42 | 984.39 | PRG09_C
ZŠ a MŠ Grafická | 39 | 2024-05-02 | 8:56 | 2024-05-31 | 8:59 | 16.42 | 984.39 | PRG20
Gymnázium Na Zatlance | 3 | 2024-05-02 | 9:12 | 2024-05-31 | 9:11 | 16.42 | 984.39 | PRG21
SPŠE Ječná | 34 | 2024-05-02 | 8:17 | 2024-05-31 | 8:12 | 16.42 | 984.39 | PRG22
G, SOŠ, ZŠ, MŠ sluch. post. | 25 | 2024-05-02 | 8:25 | 2024-05-31 | 8:21 | 16.42 | 984.39 | PRG23
MŠ Jílkova | 15 | 2024-05-02 | 13:03 | 2024-05-31 | 13:06 | 16.42 | 984.39 | PRG24
Radlickà/ Klicperova c | 33 | 2024-05-02 | 9:21 | 2024-05-31 | 9:23 | 16.42 | 984.39 | PRG06_CM
Na Truhlàrce 60c | 31 | 2024-05-02 | 13:25 | 2024-05-31 | 13:29 | 16.42 | 984.39 | PRG18_CM