## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 13.06.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 20.06.2024
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | C. Panier
contact person: | H. Rhein, R. Kulpa, M. Lažan |  |  |  | pollutant: | NO2 |  | date: | 16.06.2024 |  |  | checked on: | 25.06.2024
project: | Prague 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | T. Hangartner
reference: | 2024-05-01 |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012419a
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Legerova AIM | DDU-122 | 45245 | 2024-05-02 | 8:03 | 2024-05-31 | 8:00 | 695.95 | 0.001 | 1:2 | 0.281 | 1.2467 | 40.675
Ječná 39 | 126 | 45245 | 2024-05-02 | 8:12 | 2024-05-31 | 8:07 | 695.9167 | 0.001 | 1:2 | 0.42 | 1.8644 | 60.834
Ječná / Štěpánská | 98 | 45245 | 2024-05-02 | 8:32 | 2024-05-31 | 8:29 | 695.95 | 0.001 | 1:2 | 0.354 | 1.5711 | 51.26
V Botanice 4 (KÚ) | 129 | 45245 | 2024-05-02 | 8:41 | 2024-05-31 | 8:38 | 695.95 | 0.001 | 1:2 | 0.347 | 1.54 | 50.245
Plzeňská 38a | 91 |  | 2024-05-02 | 8:47 | 2024-05-31 |  | 696 | [5 empty] | sampler not received
Radlická / Klicperova | 69 | 45245 | 2024-05-02 | 9:20 | 2024-05-31 | 9:21 | 696.0167 | 0.001 | 1:2 | 0.315 | 1.3978 | 45.601
Újezd | 110 | 45245 | 2024-05-02 | 9:36 | 2024-05-31 | 9:37 | 696.0167 | 0.001 | 1:2 | 0.159 | 0.70444 | 22.981
Smetanovo nábřeží | 127 | 45245 | 2024-05-02 | 9:51 | 2024-05-31 | 9:53 | 696.0333 | 0.001 | 1:2 | 0.355 | 1.5756 | 51.399
nám. Republiky AIM | 119 | 45245 | 2024-05-02 | 10:03 | 2024-05-31 | 10:04 | 696.0167 | 0.001 | 1:2 | 0.137 | 0.60667 | 19.792
Florenc | 82 | 45245 | 2024-05-02 | 10:30 | 2024-05-31 | 10:30 | 696 | 0.001 | 1:2 | 0.3 | 1.3311 | 43.427
Veletržní/Sochařská | 143 | 45245 | 2024-05-02 | 10:20 | 2024-05-31 | 10:18 | 695.9667 | 0.001 | 1:2 | 0.287 | 1.2733 | 41.544
Československé armády | 124 | 45245 | 2024-05-02 | 12:43 | 2024-05-31 | 12:49 | 696.1 | 0.001 | 1:2 | 0.207 | 0.91778 | 29.938
Patočkova | 96 | 45245 | 2024-05-02 | 12:57 | 2024-05-31 | 13:01 | 696.0667 | 0.001 | 1:2 | 0.313 | 1.3889 | 45.307
J.Želivského / Biskupcova | 90 | 45245 | 2024-05-02 | 10:42 | 2024-05-31 | 10:40 | 695.9667 | 0.001 | 1:2 | 0.292 | 1.2956 | 42.269
Flora-mall | 104 | 45245 | 2024-05-02 | 10:52 | 2024-05-31 | 10:52 | 696 | 0.001 | 1:2 | 0.23 | 1.02 | 33.277
Bělocerkevská | 125 | 45245 | 2024-05-02 | 13:50 | 2024-05-31 | 13:53 | 696.05 | 0.001 | 1:2 | 0.265 | 1.1756 | 38.349
V Holešovičkách 36 | 79 | 45245 | 2024-05-02 | 13:20 | 2024-05-31 | 13:23 | 696.05 | 0.001 | 1:2 | 0.385 | 1.7089 | 55.748
Na Truhlářce 60 | 53 | 45245 | 2024-05-02 | 13:27 | 2024-05-31 | 13:28 | 696.0167 | 0.001 | 1:2 | 0.155 | 0.68667 | 22.402
Spořilov, Prague | 139 | 45245 | 2024-05-02 | 14:07 | 2024-05-31 | 14:06 | 695.9833 | 0.001 | 1:2 | 0.342 | 1.5178 | 49.518

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012419a
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Legerova AIM | DDU-122 | 2024-05-02 | 8:03 | 2024-05-31 | 8:00 | 16.42 | 984.39 | PRG01
Ječná 39 | 126 | 2024-05-02 | 8:12 | 2024-05-31 | 8:07 | 16.42 | 984.39 | PRG02
Ječná / Štěpánská | 98 | 2024-05-02 | 8:32 | 2024-05-31 | 8:29 | 16.42 | 984.39 | PRG03
V Botanice 4 (KÚ) | 129 | 2024-05-02 | 8:41 | 2024-05-31 | 8:38 | 16.42 | 984.39 | PRG04
Plzeňská 38a | 91 | 2024-05-02 | 8:47 | 2024-05-31 |  |  |  | sensor lost
Radlická / Klicperova | 69 | 2024-05-02 | 9:20 | 2024-05-31 | 9:21 | 16.42 | 984.39 | PRG06
Újezd | 110 | 2024-05-02 | 9:36 | 2024-05-31 | 9:37 | 16.42 | 984.39 | PRG07
Smetanovo nábřeží | 127 | 2024-05-02 | 9:51 | 2024-05-31 | 9:53 | 16.42 | 984.39 | PRG08
nám. Republiky AIM | 119 | 2024-05-02 | 10:03 | 2024-05-31 | 10:04 | 16.42 | 984.39 | PRG09
Florenc | 82 | 2024-05-02 | 10:30 | 2024-05-31 | 10:30 | 16.42 | 984.39 | PRG10
Veletržní/Sochařská | 143 | 2024-05-02 | 10:20 | 2024-05-31 | 10:18 | 16.42 | 984.39 | PRG11
Československé armády | 124 | 2024-05-02 | 12:43 | 2024-05-31 | 12:49 | 16.42 | 984.39 | PRG12
Patočkova | 96 | 2024-05-02 | 12:57 | 2024-05-31 | 13:01 | 16.42 | 984.39 | PRG13
J.Želivského / Biskupcova | 90 | 2024-05-02 | 10:42 | 2024-05-31 | 10:40 | 16.42 | 984.39 | PRG14
Flora-mall | 104 | 2024-05-02 | 10:52 | 2024-05-31 | 10:52 | 16.42 | 984.39 | PRG15
Bělocerkevská | 125 | 2024-05-02 | 13:50 | 2024-05-31 | 13:53 | 16.42 | 984.39 | PRG16
V Holešovičkách 36 | 79 | 2024-05-02 | 13:20 | 2024-05-31 | 13:23 | 16.42 | 984.39 | PRG17
Na Truhlářce 60 | 53 | 2024-05-02 | 13:27 | 2024-05-31 | 13:28 | 16.42 | 984.39 | PRG18
Spořilov, Prague | 139 | 2024-05-02 | 14:07 | 2024-05-31 | 14:06 | 16.42 | 984.39 | PRG19