## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 05.07.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 10.07.2024
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | H. Rhein, R. Kulpa, M. Lažan |  |  |  | pollutant: | NO2 |  | date: | 08.07.2024 |  |  | checked on: | 11.07.2024
project: | Prague 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | C. Panier
reference: | results corrected to meteo, June 2024 |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012420b
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate corrected for actual conditions (T); further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Legerova AIM | DDU-163 | 45245 | 2024-05-31 | 8:00 | 2024-06-28 | 8:05 | 672.0833 | 0.001 | 1:2 | 0.249 | 1.1044 | 37.5
Ječná 39 | 120 | 45245 | 2024-05-31 | 8:07 | 2024-06-28 | 8:12 | 672.0833 | 0.001 | 1:2 | 0.389 | 1.7267 | 58.6
Ječná / Štěpánská | 128 | 45245 | 2024-05-31 | 8:29 | 2024-06-28 | 8:30 | 672.0167 | 0.001 | 1:2 | 0.313 | 1.3889 | 47.1
V Botanice 4 (KÚ) | 148 | 45245 | 2024-05-31 | 8:38 | 2024-06-28 | 8:37 | 671.9833 | 0.001 | 1:2 | 0.339 | 1.5044 | 51
Plzeňská 38a | 146 | 45245 | 2024-05-31 | 8:52 | 2024-06-28 | 8:48 | 671.9333 | 0.001 | 1:2 | 0.339 | 1.5044 | 51
Radlická / Klicperova | 132 | 45245 | 2024-05-31 | 9:21 | 2024-06-28 | 9:24 | 672.05 | 0.001 | 1:2 | 0.356 | 1.58 | 53.6
Újezd | 105 | 45245 | 2024-05-31 | 9:37 | 2024-06-28 | 9:42 | 672.0833 | 0.001 | 1:2 | 0.153 | 0.67778 | 23
Smetanovo nábřeží | 131 | 45245 | 2024-05-31 | 9:53 | 2024-06-28 | 10:19 | 672.4333 | 0.001 | 1:2 | 0.336 | 1.4911 | 50.6
nám. Republiky AIM | 111 | 45245 | 2024-05-31 | 10:04 | 2024-06-28 | 10:32 | 672.4667 | 0.001 | 1:2 | 0.102 | 0.45111 | 15.3
Florenc | 136 | 45245 | 2024-05-31 | 10:30 | 2024-06-28 | 10:54 | 672.4 | 0.001 | 1:2 | 0.303 | 1.3444 | 45.6
Veletržní/Sochařská | 138 | 45245 | 2024-05-31 | 10:18 | 2024-06-28 | 10:45 | 672.45 | 0.001 | 1:2 | 0.308 | 1.3667 | 46.3
Československé armády | 108 | 45245 | 2024-05-31 | 12:49 | 2024-06-29 | 9:13 | 692.4 | 0.001 | 1:2 | 0.196 | 0.86889 | 28.6
Patočkova | 167 | 45245 | 2024-05-31 | 13:01 | 2024-06-29 | 9:25 | 692.4 | 0.001 | 1:2 | 0.306 | 1.3578 | 44.7
J.Želivského / Biskupcova | 135 | 45245 | 2024-05-31 | 10:40 | 2024-06-28 | 11:04 | 672.4 | 0.001 | 1:2 | 0.354 | 1.5711 | 53.3
Flora-mall | 121 | 45245 | 2024-05-31 | 10:52 | 2024-06-28 | 11:14 | 672.3667 | 0.001 | 1:2 | 0.227 | 1.0067 | 34.1
Bělocerkevská | 123 | 45245 | 2024-05-31 | 13:53 | 2024-06-29 | 10:29 | 692.6 | 0.001 | 1:2 | 0.236 | 1.0467 | 34.4
V Holešovičkách 36 | 101 | 45245 | 2024-05-31 | 13:23 | 2024-06-29 | 10:05 | 692.7 | 0.001 | 1:2 | 0.387 | 1.7178 | 56.5
Na Truhlářce 60 | 141 | 45245 | 2024-05-31 | 13:28 | 2024-06-29 | 10:09 | 692.6833 | 0.001 | 1:2 | 0.134 | 0.59333 | 19.5
Spořilov, Prague | 149 | 45245 | 2024-05-31 | 14:06 | 2024-06-29 | 10:40 | 692.5667 | 0.001 | 1:2 | 0.304 | 1.3489 | 44.4
SSPSaG | 147 | 45245 | 2024-05-23 | 14:32 | 2024-06-21 | 10:30 | 691.9667 | 0.001 | 1:2 | 0.138 | 0.61111 | 20.3

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012420b
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Legerova AIM | DDU-163 | 2024-05-31 | 8:00 | 2024-06-28 | 8:05 | 19.35 |  | PRG01
Ječná 39 | 120 | 2024-05-31 | 8:07 | 2024-06-28 | 8:12 | 19.35 |  | PRG02
Ječná / Štěpánská | 128 | 2024-05-31 | 8:29 | 2024-06-28 | 8:30 | 19.35 |  | PRG03
V Botanice 4 (KÚ) | 148 | 2024-05-31 | 8:38 | 2024-06-28 | 8:37 | 19.35 |  | PRG04
Plzeňská 38a | 146 | 2024-05-31 | 8:52 | 2024-06-28 | 8:48 | 19.35 |  | PRG05
Radlická / Klicperova | 132 | 2024-05-31 | 9:21 | 2024-06-28 | 9:24 | 19.35 |  | PRG06
Újezd | 105 | 2024-05-31 | 9:37 | 2024-06-28 | 9:42 | 19.35 |  | PRG07
Smetanovo nábřeží | 131 | 2024-05-31 | 9:53 | 2024-06-28 | 10:19 | 19.35 |  | PRG08
nám. Republiky AIM | 111 | 2024-05-31 | 10:04 | 2024-06-28 | 10:32 | 19.35 |  | PRG09
Florenc | 136 | 2024-05-31 | 10:30 | 2024-06-28 | 10:54 | 19.35 |  | PRG10
Veletržní/Sochařská | 138 | 2024-05-31 | 10:18 | 2024-06-28 | 10:45 | 19.35 |  | PRG11
Československé armády | 108 | 2024-05-31 | 12:49 | 2024-06-29 | 9:13 | 19.51 |  | PRG12
Patočkova | 167 | 2024-05-31 | 13:01 | 2024-06-29 | 9:25 | 19.51 |  | PRG13
J.Želivského / Biskupcova | 135 | 2024-05-31 | 10:40 | 2024-06-28 | 11:04 | 19.35 |  | PRG14
Flora-mall | 121 | 2024-05-31 | 10:52 | 2024-06-28 | 11:14 | 19.35 |  | PRG15
Bělocerkevská | 123 | 2024-05-31 | 13:53 | 2024-06-29 | 10:29 | 19.51 |  | PRG16
V Holešovičkách 36 | 101 | 2024-05-31 | 13:23 | 2024-06-29 | 10:05 | 19.51 |  | PRG17
Na Truhlářce 60 | 141 | 2024-05-31 | 13:28 | 2024-06-29 | 10:09 | 19.51 |  | PRG18
Spořilov, Prague | 149 | 2024-05-31 | 14:06 | 2024-06-29 | 10:40 | 19.51 |  | PRG19
SSPSaG | 147 | 2024-05-23 | 14:32 | 2024-06-21 | 10:30 | 18.08 |  | PRG20