## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 07.08.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 12.08.2024
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | H. Rhein, R. Kulpa, M. Lažan |  |  |  | pollutant: | NO2 |  | date: | 08.08.2024 |  |  | checked on: | 13.08.2024
project: | Ostrava 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | C. Panier
reference: | 2024-07-01 |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012423a
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Českobratrská (referenční bod) | DDU-106 | 45245 | 2024-07-01 | 18:40 | 2024-07-27 | 14:20 | 619.6667 | 0.001 | 1:2 | 0.154 | 0.68222 | 24.999
Hrabůvka zastávka | 97 | 45245 | 2024-07-01 | 19:10 | 2024-07-27 | 15:20 | 620.1667 | 0.001 | 1:2 | 0.082 | 0.36222 | 13.262
Hrabůvka odborářská ulice | 140 | 45245 | 2024-07-01 | 19:05 | 2024-07-27 | 15:16 | 620.1833 | 0.001 | 1:2 | 0.069 | 0.30444 | 11.146
Hlučínská / Koksární | 118 | 45245 | 2024-07-01 | 18:27 | 2024-07-27 | 14:01 | 619.5667 | 0.001 | 1:2 | 0.126 | 0.55778 | 20.442
Sokolská Soud | 88 | 45245 | 2024-07-01 | 18:35 | 2024-07-27 | 14:12 | 619.6167 | 0.001 | 1:2 | 0.096 | 0.42444 | 15.554
Bělský les - přechod | 144 | 45245 | 2024-07-01 | 19:00 | 2024-07-27 | 15:10 | 620.1667 | 0.001 | 1:2 | 0.144 | 0.63778 | 23.352
Bílovecká - (Svinov) | 102 | 45245 | 2024-07-01 | 18:15 | 2024-07-27 | 15:45 | 621.5 | 0.001 | 1:2 | 0.116 | 0.51333 | 18.755
Rudná / Zkrácená | 150 |  | 2024-07-01 | 17:50 | [8 empty] | sampler not received
Rudná 2 | 137 | 45245 | 2024-07-01 | 17:58 | 2024-07-27 | 15:00 | 621.0333 | 0.001 | 1:2 | 0.125 | 0.55333 | 20.231
17. Listopadu Poruba | 109 | 45245 | 2024-07-01 | 18:07 | 2024-07-27 | 15:32 | 621.4167 | 0.001 | 1:2 | 0.132 | 0.58444 | 21.355

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012423a
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Českobratrská (referenční bod) | DDU-106 | 2024-07-01 | 18:40 | 2024-07-27 | 14:20 |  |  | OVA1
Hrabůvka zastávka | 97 | 2024-07-01 | 19:10 | 2024-07-27 | 15:20 |  |  | OVA2
Hrabůvka odborářská ulice | 140 | 2024-07-01 | 19:05 | 2024-07-27 | 15:16 |  |  | OVA3
Hlučínská / Koksární | 118 | 2024-07-01 | 18:27 | 2024-07-27 | 14:01 |  |  | OVA4
Sokolská Soud | 88 | 2024-07-01 | 18:35 | 2024-07-27 | 14:12 |  |  | OVA5
Bělský les - přechod | 144 | 2024-07-01 | 19:00 | 2024-07-27 | 15:10 |  |  | OVA6
Bílovecká - (Svinov) | 102 | 2024-07-01 | 18:15 | 2024-07-27 | 15:45 |  |  | OVA7
Rudná / Zkrácená | 150 | 2024-07-01 | 17:50 |  |  |  |  | sensor lost
Rudná 2 | 137 | 2024-07-01 | 17:58 | 2024-07-27 | 15:00 |  |  | OVA9
17. Listopadu Poruba | 109 | 2024-07-01 | 18:07 | 2024-07-27 | 15:32 |  |  | OVA10