## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Czech Hydrometeorological Institute |  |  |  | date received: | 07.08.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 12.08.2024
customer ID: | TMP |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | Mr. Ondřej Vlček |  |  |  | pollutant: | NO2 |  | date: | 08.08.2024 |  |  | checked on: | 13.08.2024
project: | Prague 2024, CHMI |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | C. Panier
reference: | 2024-07-01 |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | TMP012407a
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Legerova AIM c | TMP-40 | 45251 | 2024-06-28 | 8:06 | 2024-07-25 | 9:48 | 649.7 | 0.001 | 1:2 | 0.239 | 1.06 | 37.046
Legerova AIM c - kryt Passam | 18 | 45251 | 2024-06-28 | 8:07 | 2024-07-25 | 9:48 | 649.6833 | 0.001 | 1:2 | 0.241 | 1.0689 | 37.358
nám. Republiky AIM c | 46 | 45251 | 2024-06-28 | 10:33 | 2024-07-25 | 9:35 | 647.0333 | 0.001 | 1:2 | 0.098 | 0.43333 | 15.207
ZŠ a MŠ Grafická | 38 | 45251 | 2024-06-28 | 8:56 | 2024-07-25 | 8:52 | 647.9333 | 0.001 | 1:2 | 0.105 | 0.46444 | 16.276
Gymnázium Na Zatlance | 13 | 45251 | 2024-06-28 | 9:13 | 2024-07-25 | 9:08 | 647.9167 | 0.001 | 1:2 | 0.175 | 0.77556 | 27.18
SPŠE Ječná | 45 | 45251 | 2024-06-28 | 8:15 | 2024-07-25 | 8:18 | 648.05 | 0.001 | 1:2 | 0.094 | 0.41556 | 14.561
G, SOŠ, ZŠ, MŠ sluch. post. | 6 | 45251 | 2024-06-28 | 8:23 | 2024-07-25 | 8:35 | 648.2 | 0.001 | 1:2 | 0.105 | 0.46444 | 16.269
MŠ Jílkova | 36 | 45251 | 2024-06-29 | 9:34 | 2024-07-29 | 14:30 | 724.9333 | 0.001 | 1:2 | 0.104 | 0.46 | 14.408
Smetanovo nábřeží c | 11 | 45251 | 2024-06-28 | 10:29 | 2024-07-25 | 9:25 | 646.9333 | 0.001 | 1:2 | 0.365 | 1.62 | 56.86
ZŠ a MŠ Grafická c | 17 | 45251 | 2024-06-28 | 9:57 | 2024-07-25 | 8:52 | 646.9167 | 0.001 | 1:2 | 0.096 | 0.42444 | 14.898

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement TMP012407a
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Legerova AIM c | TMP-40 | 2024-06-28 | 8:06 | 2024-07-25 | 9:48 | 22.28 | 984.59 | PRG01_C
Legerova AIM c - kryt Passam | 18 | 2024-06-28 | 8:07 | 2024-07-25 | 9:48 | 22.28 | 984.59 | PRG01_CP
nám. Republiky AIM c | 46 | 2024-06-28 | 10:33 | 2024-07-25 | 9:35 | 22.28 | 984.59 | PRG09_C
ZŠ a MŠ Grafická | 38 | 2024-06-28 | 8:56 | 2024-07-25 | 8:52 | 22.28 | 984.59 | PRG20
Gymnázium Na Zatlance | 13 | 2024-06-28 | 9:13 | 2024-07-25 | 9:08 | 22.28 | 984.59 | PRG21
SPŠE Ječná | 45 | 2024-06-28 | 8:15 | 2024-07-25 | 8:18 | 22.28 | 984.59 | PRG22
G, SOŠ, ZŠ, MŠ sluch. post. | 6 | 2024-06-28 | 8:23 | 2024-07-25 | 8:35 | 22.28 | 984.59 | PRG23
MŠ Jílkova | 36 | 2024-06-29 | 9:34 | 2024-07-29 | 14:30 | 22.21 | 984.84 | PRG24
Smetanovo nábřeží c | 11 | 2024-06-28 | 10:29 | 2024-07-25 | 9:25 | 22.28 | 984.59 | PRG08_CM
ZŠ a MŠ Grafická c | 17 | 2024-06-28 | 9:57 | 2024-07-25 | 8:52 | 22.28 | 984.59 | PRG20_CM