## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 10.09.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 12.09.2024
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | H. Rhein, R. Kulpa, M. Lažan |  |  |  | pollutant: | NO2 |  | date: | 11.09.2024 |  |  | checked on: | 13.09.2024
project: | Ostrava 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | N. Spichtig
reference: | August 2024, results corrected to meteo |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012425b
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate corrected for actual conditions (T); further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Českobratrská (referenční bod) | DDU-159 | 45245 | 2024-07-27 | 14:20 | 2024-08-29 | 19:10 | 796.8333 | 0.001 | 1:2 | 0.245 | 1.0867 | 30.8 | specs not met: exp. time;
Hrabůvka zastávka | 170 | 45245 | 2024-07-27 | 15:20 | 2024-08-29 | 17:20 | 794 | 0.001 | 1:2 | 0.151 | 0.66889 | 19 | specs not met: exp. time;
Hrabůvka odborářská ulice | 187 | 45245 | 2024-07-27 | 15:16 | 2024-08-29 | 17:15 | 793.9833 | 0.001 | 1:2 | 0.106 | 0.46889 | 13.3 | specs not met: exp. time;
Hlučínská / Koksární | 188 | 45245 | 2024-07-27 | 14:01 | 2024-08-29 | 18:40 | 796.65 | 0.001 | 1:2 | 0.228 | 1.0111 | 28.7 | specs not met: exp. time;
Sokolská Soud | 200 | 45245 | 2024-07-27 | 14:12 | 2024-08-29 | 19:00 | 796.8 | 0.001 | 1:2 | 0.169 | 0.74889 | 21.2 | specs not met: exp. time;
Bělský les - přechod | 161 | 45245 | 2024-07-27 | 15:10 | 2024-08-29 | 17:35 | 794.4167 | 0.001 | 1:2 | 0.255 | 1.1311 | 32.1 | specs not met: exp. time;
Bílovecká - (Svinov) | 199 | 45245 | 2024-07-27 | 15:45 | 2024-08-29 | 18:25 | 794.6667 | 0.001 | 1:2 | 0.215 | 0.95333 | 27.1 | specs not met: exp. time;
Rudná / Zkrácená | - | [11 empty] | sampler not received
Rudná 2 | 198 | 45245 | 2024-07-27 | 15:00 | 2024-08-29 | 17:58 | 794.9667 | 0.001 | 1:2 | 0.22 | 0.97556 | 27.7 | specs not met: exp. time;
17. Listopadu Poruba | 177 | 45245 | 2024-07-27 | 15:32 | 2024-08-29 | 18:13 | 794.6833 | 0.001 | 1:2 | 0.247 | 1.0956 | 31.1 | specs not met: exp. time;

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012425b
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Českobratrská (referenční bod) | DDU-159 | 2024-07-27 | 14:20 | 2024-08-29 | 19:10 | 20.94 | 987.38 | OVA1
Hrabůvka zastávka | 170 | 2024-07-27 | 15:20 | 2024-08-29 | 17:20 | 20.94 | 987.38 | OVA2
Hrabůvka odborářská ulice | 187 | 2024-07-27 | 15:16 | 2024-08-29 | 17:15 | 20.94 | 987.38 | OVA3
Hlučínská / Koksární | 188 | 2024-07-27 | 14:01 | 2024-08-29 | 18:40 | 20.94 | 987.38 | OVA4
Sokolská Soud | 200 | 2024-07-27 | 14:12 | 2024-08-29 | 19:00 | 20.94 | 987.38 | OVA5
Bělský les - přechod | 161 | 2024-07-27 | 15:10 | 2024-08-29 | 17:35 | 20.94 | 987.38 | OVA6
Bílovecká - (Svinov) | 199 | 2024-07-27 | 15:45 | 2024-08-29 | 18:25 | 20.94 | 987.38 | OVA7
Rudná / Zkrácená | - | [6 empty] | OVA8; lost
Rudná 2 | 198 | 2024-07-27 | 15:00 | 2024-08-29 | 17:58 | 20.94 | 987.38 | OVA9
17. Listopadu Poruba | 177 | 2024-07-27 | 15:32 | 2024-08-29 | 18:13 | 20.94 | 987.38 | OVA10