## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Czech Hydrometeorological Institute |  |  |  | date received: | 10.09.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 12.09.2024
customer ID: | TMP |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | Mr. Ondřej Vlček |  |  |  | pollutant: | NO2 |  | date: | 11.09.2024 |  |  | checked on: | 12.09.2024
project: | Prague 2024, CHMI |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | T. Hangartner
reference: | August 24 Prague, corrected to meteo |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | TMP012408b
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate corrected for actual conditions (T); further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Legerova AIM c | TMP-76 | 45251 | 2024-07-29 | 8:27 | 2024-08-28 | 8:02 | 719.5833 | 0.001 | 1:2 | 0.297 | 1.3178 | 41
Legerova AIM c - kryt Passam | 52 | 45251 | 2024-07-29 | 8:27 | 2024-08-28 | 8:02 | 719.5833 | 0.001 | 1:2 | 0.293 | 1.3 | 40.4
nám. Republiky AIM c | 57 | 45251 | 2024-07-29 | 10:17 | 2024-08-28 | 10:00 | 719.7167 | 0.001 | 1:2 | 0.148 | 0.65556 | 20.4
ZŠ a MŠ Grafická | 82 | 45251 | 2024-07-29 | 9:31 | 2024-08-28 | 8:52 | 719.35 | 0.001 | 1:2 | 0.154 | 0.68222 | 21.2
Gymnázium Na Zatlance | 37 | 45251 | 2024-08-06 | 11:00 | 2024-08-28 | 9:17 | 526.2833 | 0.001 | 1:2 | 0.182 | 0.80667 | 34.2
SPŠE Ječná | 96 | 45251 | 2024-07-29 | 8:40 | 2024-08-28 | 8:10 | 719.5 | 0.001 | 1:2 | 0.132 | 0.58444 | 18.2
G, SOŠ, ZŠ, MŠ sluch. post. | 63 | 45251 | 2024-07-29 | 8:47 | 2024-08-28 | 8:23 | 719.6 | 0.001 | 1:2 | 0.143 | 0.63333 | 19.7
MŠ Jílkova | 95 | 45251 | 2024-07-29 | 14:31 | 2024-08-28 | 14:52 | 720.35 | 0.001 | 1:2 | 0.152 | 0.67333 | 20.9
Florenc c | 35 | 45251 | 2024-07-29 | 13:50 | 2024-08-28 | 10:26 | 716.6 | 0.001 | 1:2 | 0.354 | 1.5711 | 49.1
Gymnázium Na Zatlance c | 89 | 45251 | 2024-08-06 | 11:00 | 2024-08-28 | 9:17 | 526.2833 | 0.001 | 1:2 | 0.186 | 0.82444 | 35

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement TMP012408b
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Legerova AIM c | TMP-76 | 2024-07-29 | 8:27 | 2024-08-28 | 8:02 | 22.41 | 985.71 | PRG01_C
Legerova AIM c - kryt Passam | 52 | 2024-07-29 | 8:27 | 2024-08-28 | 8:02 | 22.41 | 985.71 | PRG01_CP
nám. Republiky AIM c | 57 | 2024-07-29 | 10:17 | 2024-08-28 | 10:00 | 22.41 | 985.71 | PRG09_C
ZŠ a MŠ Grafická | 82 | 2024-07-29 | 9:31 | 2024-08-28 | 8:52 | 22.41 | 985.71 | PRG20
Gymnázium Na Zatlance | 37 | 2024-08-06 | 11:00 | 2024-08-28 | 9:17 | 22.85 | 986.06 | PRG21
SPŠE Ječná | 96 | 2024-07-29 | 8:40 | 2024-08-28 | 8:10 | 22.41 | 985.71 | PRG22
G, SOŠ, ZŠ, MŠ sluch. post. | 63 | 2024-07-29 | 8:47 | 2024-08-28 | 8:23 | 22.41 | 985.71 | PRG23
MŠ Jílkova | 95 | 2024-07-29 | 14:31 | 2024-08-28 | 14:52 | 22.41 | 985.71 | PRG24
Florenc c | 35 | 2024-07-29 | 13:50 | 2024-08-28 | 10:26 | 22.41 | 985.71 | PRG10_CM
Gymnázium Na Zatlance c | 89 | 2024-08-06 | 11:00 | 2024-08-28 | 9:17 | 22.85 | 986.06 | PRG21_CM