## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 10.09.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 12.09.2024
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | H. Rhein, R. Kulpa, M. Lažan |  |  |  | pollutant: | NO2 |  | date: | 11.09.2024 |  |  | checked on: | 13.09.2024
project: | Prague 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | N. Spichtig
reference: | August 2024, results corrected to meteo |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012426b
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate corrected for actual conditions (T); further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Legerova AIM | DDU-224 | 45245 | 2024-07-29 | 8:27 | 2024-08-28 | 8:00 | 719.55 | 0.001 | 1:2 | 0.297 | 1.3178 | 41
Ječná 39 | 157 | 45245 | 2024-07-29 | 8:32 | 2024-08-28 | 8:07 | 719.5833 | 0.001 | 1:2 | 0.449 | 1.9933 | 62
Ječná / Štěpánská | 195 | 45245 | 2024-07-29 | 8:53 | 2024-08-28 | 8:29 | 719.6 | 0.001 | 1:2 | 0.395 | 1.7533 | 54.5
V Botanice 4 (KÚ) | 230 | 45245 | 2024-07-29 | 9:04 | 2024-08-28 | 8:36 | 719.5333 | 0.001 | 1:2 | 0.379 | 1.6822 | 52.3
Plzeňská 38a | 172 | 45245 | 2024-07-29 | 9:23 | 2024-08-28 | 8:46 | 719.3833 | 0.001 | 1:2 | 0.432 | 1.9178 | 59.6
Radlická / Klicperova | 241 | 45245 | 2024-07-29 | 9:44 | 2024-08-28 | 9:26 | 719.7 | 0.001 | 1:2 | 0.42 | 1.8644 | 58
Újezd | 196 | 45245 | 2024-07-29 | 9:54 | 2024-08-28 | 9:37 | 719.7167 | 0.001 | 1:2 | 0.191 | 0.84667 | 26.3
Smetanovo nábřeží | 179 | 45245 | 2024-07-29 | 10:08 | 2024-08-28 | 9:50 | 719.7 | 0.001 | 1:2 | 0.494 | 2.1933 | 68.2
nám. Republiky AIM | 182 | 45245 | 2024-07-29 | 10:17 | 2024-08-28 | 9:59 | 719.7 | 0.001 | 1:2 | 0.139 | 0.61556 | 19.1
Florenc | 184 | 45245 | 2024-07-29 | 10:43 | 2024-08-28 | 10:25 | 719.7 | 0.001 | 1:2 | 0.33 | 1.4644 | 45.5
Veletržní/Sochařská | 201 | 45245 | 2024-07-29 | 10:27 | 2024-08-28 | 10:13 | 719.7667 | 0.001 | 1:2 | 0.236 | 1.0467 | 32.5
Československé armády | 244 | 45245 | 2024-07-29 | 14:11 | 2024-08-28 | 14:35 | 720.4 | 0.001 | 1:2 | 0.227 | 1.0067 | 31.3
Patočkova | 245 | 45245 | 2024-07-29 | 14:26 | 2024-08-28 | 14:47 | 720.35 | 0.001 | 1:2 | 0.406 | 1.8022 | 56
J.Želivského / Biskupcova | 247 | 45245 | 2024-07-29 | 10:56 | 2024-08-28 | 10:47 | 719.85 | 0.001 | 1:2 | 0.413 | 1.8333 | 57
Flora-mall | 211 | 45245 | 2024-07-29 | 11:06 | 2024-08-28 | 10:59 | 719.8833 | 0.001 | 1:2 | 0.275 | 1.22 | 37.9
Bělocerkevská | 185 | 45245 | 2024-07-29 | 15:15 | 2024-08-28 | 16:03 | 720.8 | 0.001 | 1:2 | 0.287 | 1.2733 | 39.5
V Holešovičkách 36 | 225 | 45245 | 2024-07-29 | 14:47 | 2024-08-28 | 15:31 | 720.7333 | 0.001 | 1:2 | 0.49 | 2.1756 | 67.5
Na Truhlářce 60 | 220 | 45245 | 2024-07-29 | 14:52 | 2024-08-28 | 15:37 | 720.75 | 0.001 | 1:2 | 0.169 | 0.74889 | 23.2
Spořilov, Prague | 243 | 45245 | 2024-07-29 | 15:27 | 2024-08-28 | 16:15 | 720.8 | 0.001 | 1:2 | 0.41 | 1.82 | 56.5
SSPSaG | 235 | 45245 | 2024-07-29 | 9:12 | 2024-08-28 | 8:40 | 719.4667 | 0.001 | 1:2 | 0.146 | 0.64667 | 20.1

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012426b
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Legerova AIM | DDU-224 | 2024-07-29 | 8:27 | 2024-08-28 | 8:00 | 22.41 | 985.71 | PRG01
Ječná 39 | 157 | 2024-07-29 | 8:32 | 2024-08-28 | 8:07 | 22.41 | 985.71 | PRG02
Ječná / Štěpánská | 195 | 2024-07-29 | 8:53 | 2024-08-28 | 8:29 | 22.41 | 985.71 | PRG03
V Botanice 4 (KÚ) | 230 | 2024-07-29 | 9:04 | 2024-08-28 | 8:36 | 22.41 | 985.71 | PRG04
Plzeňská 38a | 172 | 2024-07-29 | 9:23 | 2024-08-28 | 8:46 | 22.41 | 985.71 | PRG05
Radlická / Klicperova | 241 | 2024-07-29 | 9:44 | 2024-08-28 | 9:26 | 22.41 | 985.71 | PRG06
Újezd | 196 | 2024-07-29 | 9:54 | 2024-08-28 | 9:37 | 22.41 | 985.71 | PRG07
Smetanovo nábřeží | 179 | 2024-07-29 | 10:08 | 2024-08-28 | 9:50 | 22.41 | 985.71 | PRG08
nám. Republiky AIM | 182 | 2024-07-29 | 10:17 | 2024-08-28 | 9:59 | 22.41 | 985.71 | PRG09
Florenc | 184 | 2024-07-29 | 10:43 | 2024-08-28 | 10:25 | 22.41 | 985.71 | PRG10
Veletržní/Sochařská | 201 | 2024-07-29 | 10:27 | 2024-08-28 | 10:13 | 22.41 | 985.71 | PRG11
Československé armády | 244 | 2024-07-29 | 14:11 | 2024-08-28 | 14:35 | 22.41 | 985.71 | PRG12
Patočkova | 245 | 2024-07-29 | 14:26 | 2024-08-28 | 14:47 | 22.41 | 985.71 | PRG13
J.Želivského / Biskupcova | 247 | 2024-07-29 | 10:56 | 2024-08-28 | 10:47 | 22.41 | 985.71 | PRG14
Flora-mall | 211 | 2024-07-29 | 11:06 | 2024-08-28 | 10:59 | 22.41 | 985.71 | PRG15
Bělocerkevská | 185 | 2024-07-29 | 15:15 | 2024-08-28 | 16:03 | 22.41 | 985.71 | PRG16
V Holešovičkách 36 | 225 | 2024-07-29 | 14:47 | 2024-08-28 | 15:31 | 22.41 | 985.71 | PRG17
Na Truhlářce 60 | 220 | 2024-07-29 | 14:52 | 2024-08-28 | 15:37 | 22.41 | 985.71 | PRG18
Spořilov, Prague | 243 | 2024-07-29 | 15:27 | 2024-08-28 | 16:15 | 22.41 | 985.71 | PRG19
SSPSaG | 235 | 2024-07-29 | 9:12 | 2024-08-28 | 8:40 | 22.41 | 985.71 | PRG20