## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 09.10.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 16.10.2024
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | H. Rhein, R. Kulpa, M. Lažan |  |  |  | pollutant: | NO2 |  | date: | 14.10.2024 |  |  | checked on: | 18.10.2024
project: | Ostrava 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | N. Spichtig
reference: | Sept. 2024 results corrected to meteo |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012430b
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate corrected for actual conditions (T); further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Českobratrská (referenční bod) | DDU-112 | 45245 | 2024-08-29 | 19:10 | 2024-09-28 | 13:00 | 713.8333 | 0.001 | 1:2 | 0.177 | 0.78444 | 25.4
Hrabůvka zastávka | 130 | 45245 | 2024-08-29 | 17:20 | 2024-09-28 | 11:20 | 714 | 0.001 | 1:2 | 0.126 | 0.55778 | 18
Hrabůvka odborářská ulice | 133 | 45245 | 2024-08-29 | 17:15 | 2024-09-28 | 11:15 | 714 | 0.001 | 1:2 | 0.1 | 0.44222 | 14.3
Hlučínská / Koksární | 103 | 45245 | 2024-08-29 | 18:40 | 2024-09-28 | 12:41 | 714.0167 | 0.001 | 1:2 | 0.176 | 0.78 | 25.2
Sokolská Soud | 114 | 45245 | 2024-08-29 | 19:00 | 2024-09-28 | 12:55 | 713.9167 | 0.001 | 1:2 | 0.131 | 0.58 | 18.7
Bělský les - přechod | 115 | 45245 | 2024-08-29 | 17:35 | 2024-09-28 | 11:31 | 713.9333 | 0.001 | 1:2 | 0.214 | 0.94889 | 30.7
Bílovecká - (Svinov) | 134 | 45245 | 2024-08-29 | 18:25 | 2024-09-28 | 12:28 | 714.05 | 0.001 | 1:2 | 0.173 | 0.76667 | 24.8
Rudná / Zkrácená | - | [11 empty] | sampler not received
Rudná 2 | 107 | 45245 | 2024-08-29 | 17:58 | 2024-09-28 | 12:00 | 714.0333 | 0.001 | 1:2 | 0.224 | 0.99333 | 32.1
17. Listopadu Poruba | 142 | 45245 | 2024-08-29 | 18:13 | 2024-09-28 | 12:11 | 713.9667 | 0.001 | 1:2 | 0.219 | 0.97111 | 31.4

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012430b
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Českobratrská (referenční bod) | DDU-112 | 2024-08-29 | 19:10 | 2024-09-28 | 13:00 | 17.4 | 986.24 | OVA1
Hrabůvka zastávka | 130 | 2024-08-29 | 17:20 | 2024-09-28 | 11:20 | 17.4 | 986.24 | OVA2
Hrabůvka odborářská ulice | 133 | 2024-08-29 | 17:15 | 2024-09-28 | 11:15 | 17.4 | 986.24 | OVA3
Hlučínská / Koksární | 103 | 2024-08-29 | 18:40 | 2024-09-28 | 12:41 | 17.4 | 986.24 | OVA4
Sokolská Soud | 114 | 2024-08-29 | 19:00 | 2024-09-28 | 12:55 | 17.4 | 986.24 | OVA5
Bělský les - přechod | 115 | 2024-08-29 | 17:35 | 2024-09-28 | 11:31 | 17.4 | 986.24 | OVA6
Bílovecká - (Svinov) | 134 | 2024-08-29 | 18:25 | 2024-09-28 | 12:28 | 17.4 | 986.24 | OVA7
Rudná / Zkrácená | - | [6 empty] | OVA8; lost
Rudná 2 | 107 | 2024-08-29 | 17:58 | 2024-09-28 | 12:00 | 17.4 | 986.24 | OVA9
17. Listopadu Poruba | 142 | 2024-08-29 | 18:13 | 2024-09-28 | 12:11 | 17.4 | 986.24 | OVA10