## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 09.10.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 16.10.2024
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | H. Rhein, R. Kulpa, M. Lažan |  |  |  | pollutant: | NO2 |  | date: | 14.10.2024 |  |  | checked on: | 18.10.2024
project: | Prague 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | N. Spichtig
reference: | 2024-09-01 |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012429a
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Legerova AIM | DDU-248 | 45245 | 2024-08-28 | 8:00 | 2024-09-27 | 7:52 | 719.8667 | 0.001 | 1:2 | 0.315 | 1.3978 | 44.09
Ječná 39 | 223 | 45245 | 2024-08-28 | 8:07 | 2024-09-27 | 8:00 | 719.8833 | 0.001 | 1:2 | 0.411 | 1.8244 | 57.547
Ječná / Štěpánská | 205 | 45245 | 2024-08-28 | 8:29 | 2024-09-27 | 8:28 | 719.9833 | 0.001 | 1:2 | 0.361 | 1.6022 | 50.53
V Botanice 4 (KÚ) | 222 | 45245 | 2024-08-28 | 8:36 | 2024-09-27 | 8:40 | 720.0667 | 0.001 | 1:2 | 0.369 | 1.6378 | 51.646
Plzeňská 38a | 236 | 45245 | 2024-08-28 | 8:46 | 2024-09-27 | 9:20 | 720.5667 | 0.001 | 1:2 | 0.473 | 2.1 | 66.176
Radlická / Klicperova | 228 | 45245 | 2024-08-28 | 9:26 | 2024-09-27 | 9:49 | 720.3833 | 0.001 | 1:2 | 0.417 | 1.8511 | 58.347
Újezd | 203 | 45245 | 2024-08-28 | 9:37 | 2024-09-27 | 10:02 | 720.4167 | 0.001 | 1:2 | 0.196 | 0.86889 | 27.386
Smetanovo nábřeží | 219 | 45245 | 2024-08-28 | 9:50 | 2024-09-27 | 10:15 | 720.4167 | 0.001 | 1:2 | 0.446 | 1.98 | 62.407
nám. Republiky AIM | 238 | 45245 | 2024-08-28 | 9:59 | 2024-09-27 | 10:26 | 720.45 | 0.001 | 1:2 | 0.169 | 0.74889 | 23.603
Florenc | 208 | 45245 | 2024-08-28 | 10:25 | 2024-09-27 | 10:57 | 720.5333 | 0.001 | 1:2 | 0.307 | 1.3622 | 42.929
Veletržní/Sochařská | 212 | 45245 | 2024-08-28 | 10:13 | 2024-09-27 | 10:42 | 720.4833 | 0.001 | 1:2 | 0.3 | 1.3311 | 41.951
Československé armády | 233 | 45245 | 2024-08-28 | 14:35 | 2024-09-28 | 9:35 | 739 | 0.001 | 1:2 | 0.254 | 1.1267 | 34.618
Patočkova | 207 | 45245 | 2024-08-28 | 14:47 | 2024-09-28 | 9:54 | 739.1167 | 0.001 | 1:2 | 0.413 | 1.8333 | 56.322
J.Želivského / Biskupcova | 204 | 45245 | 2024-08-28 | 10:47 | 2024-09-27 | 11:10 | 720.3833 | 0.001 | 1:2 | 0.298 | 1.3222 | 41.677
Flora-mall | 237 | 45245 | 2024-08-28 | 10:59 | 2024-09-27 | 11:21 | 720.3667 | 0.001 | 1:2 | 0.246 | 1.0911 | 34.393
Bělocerkevská | 210 | 45245 | 2024-08-28 | 16:03 | 2024-09-28 | 10:32 | 738.4833 | 0.001 | 1:2 | 0.328 | 1.4556 | 44.755
V Holešovičkách 36 | 221 | 45245 | 2024-08-28 | 15:31 | 2024-09-28 | 10:11 | 738.6667 | 0.001 | 1:2 | 0.422 | 1.8733 | 57.586
Na Truhlářce 60 | 240 | 45245 | 2024-08-28 | 15:37 | 2024-09-28 | 10:14 | 738.6167 | 0.001 | 1:2 | 0.162 | 0.71778 | 22.066
Spořilov, Prague | 209 | 45245 | 2024-08-28 | 16:15 | 2024-09-28 | 10:49 | 738.5667 | 0.001 | 1:2 | 0.351 | 1.5578 | 47.893
SSPSaG | 242 | 45245 | 2024-08-28 | 8:40 | 2024-09-27 | 8:45 | 720.0833 | 0.001 | 1:2 | 0.142 | 0.62889 | 19.831

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012429a
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Legerova AIM | DDU-248 | 2024-08-28 | 8:00 | 2024-09-27 | 7:52 | 19.07 | 985.21 | PRG01
Ječná 39 | 223 | 2024-08-28 | 8:07 | 2024-09-27 | 8:00 | 19.07 | 985.21 | PRG02
Ječná / Štěpánská | 205 | 2024-08-28 | 8:29 | 2024-09-27 | 8:28 | 19.07 | 985.21 | PRG03
V Botanice 4 (KÚ) | 222 | 2024-08-28 | 8:36 | 2024-09-27 | 8:40 | 19.07 | 985.21 | PRG04
Plzeňská 38a | 236 | 2024-08-28 | 8:46 | 2024-09-27 | 9:20 | 19.07 | 985.21 | PRG05
Radlická / Klicperova | 228 | 2024-08-28 | 9:26 | 2024-09-27 | 9:49 | 19.07 | 985.21 | PRG06
Újezd | 203 | 2024-08-28 | 9:37 | 2024-09-27 | 10:02 | 19.07 | 985.21 | PRG07
Smetanovo nábřeží | 219 | 2024-08-28 | 9:50 | 2024-09-27 | 10:15 | 19.07 | 985.21 | PRG08
nám. Republiky AIM | 238 | 2024-08-28 | 9:59 | 2024-09-27 | 10:26 | 19.07 | 985.21 | PRG09
Florenc | 208 | 2024-08-28 | 10:25 | 2024-09-27 | 10:57 | 19.07 | 985.21 | PRG10
Veletržní/Sochařská | 212 | 2024-08-28 | 10:13 | 2024-09-27 | 10:42 | 19.07 | 985.21 | PRG11
Československé armády | 233 | 2024-08-28 | 14:35 | 2024-09-28 | 9:35 | 18.93 | 984.96 | PRG12
Patočkova | 207 | 2024-08-28 | 14:47 | 2024-09-28 | 9:54 | 18.93 | 984.96 | PRG13
J.Želivského / Biskupcova | 204 | 2024-08-28 | 10:47 | 2024-09-27 | 11:10 | 19.07 | 985.21 | PRG14
Flora-mall | 237 | 2024-08-28 | 10:59 | 2024-09-27 | 11:21 | 19.07 | 985.21 | PRG15
Bělocerkevská | 210 | 2024-08-28 | 16:03 | 2024-09-28 | 10:32 | 18.93 | 984.96 | PRG16
V Holešovičkách 36 | 221 | 2024-08-28 | 15:31 | 2024-09-28 | 10:11 | 18.93 | 984.96 | PRG17
Na Truhlářce 60 | 240 | 2024-08-28 | 15:37 | 2024-09-28 | 10:14 | 18.93 | 984.96 | PRG18
Spořilov, Prague | 209 | 2024-08-28 | 16:15 | 2024-09-28 | 10:49 | 18.93 | 984.96 | PRG19
SSPSaG | 242 | 2024-08-28 | 8:40 | 2024-09-27 | 8:45 | 19.07 | 985.21 | PRG26