## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 06.11.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 13.11.2024
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | H. Rhein, R. Kulpa, M. Lažan |  |  |  | pollutant: | NO2 |  | date: | 11.11.2024 |  |  | checked on: | 14.11.2024
project: | Prague 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | T. Hangartner
reference: | Oct. 2024 results corrected to meteo |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012432b
[5 empty] | protective filter: | yes | [5 empty] | pages: | 2
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate corrected for actual conditions (T); further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Legerova AIM | DDU-93 | 45370 | 2024-09-27 | 7:52 | 2024-10-25 | 8:00 | 672.1333 | 0.002 | 1:2 | 0.258 | 1.1422 | 40.7
Ječná 39 | 6 | 45370 | 2024-09-27 | 8:00 | 2024-10-25 | 8:09 | 672.15 | 0.002 | 1:2 | 0.339 | 1.5022 | 53.6
Ječná / Štěpánská | 33 | 45370 | 2024-09-27 | 8:28 | 2024-10-25 | 8:30 | 672.0333 | 0.002 | 1:2 | 0.295 | 1.3067 | 46.6
V Botanice 4 (KÚ) | 91 | 45370 | 2024-09-27 | 8:40 | 2024-10-25 | 8:38 | 671.9667 | 0.002 | 1:2 | 0.269 | 1.1911 | 42.5
Plzeňská 38a | 87 | 45370 | 2024-09-27 | 9:20 | 2024-10-25 | 9:22 | 672.0333 | 0.002 | 1:2 | 0.351 | 1.5556 | 55.5
Radlická / Klicperova | 21 | 45370 | 2024-09-27 | 9:49 | 2024-10-25 | 9:45 | 671.9333 | 0.002 | 1:2 | 0.305 | 1.3511 | 48.2
Újezd | 8 | 45370 | 2024-09-27 | 10:02 | 2024-10-25 | 9:57 | 671.9167 | 0.002 | 1:2 | 0.181 | 0.8 | 28.5
Smetanovo nábřeží | 38 | 45370 | 2024-09-27 | 10:15 | 2024-10-25 | 10:15 | 672 | 0.002 | 1:2 | 0.285 | 1.2622 | 45
nám. Republiky AIM | 14 | 45370 | 2024-09-27 | 10:26 | 2024-10-25 | 10:24 | 671.9667 | 0.002 | 1:2 | 0.152 | 0.67111 | 23.9
Florenc | 4 | 45370 | 2024-09-27 | 10:57 | 2024-10-25 | 10:59 | 672.0333 | 0.002 | 1:2 | 0.253 | 1.12 | 39.9
Veletržní/Sochařská | 2 | 45370 | 2024-09-27 | 10:42 | 2024-10-25 | 10:46 | 672.0667 | 0.002 | 1:2 | 0.256 | 1.1333 | 40.4
Československé armády | 5 | 45370 | 2024-09-28 | 9:35 | 2024-10-26 | 13:14 | 675.65 | 0.002 | 1:2 | 0.227 | 1.0044 | 35.7
Patočkova | 25 | 45370 | 2024-09-28 | 9:54 | 2024-10-26 | 13:35 | 675.6833 | 0.002 | 1:2 | 0.267 | 1.1822 | 42
J.Želivského / Biskupcova | 18 | 45370 | 2024-09-27 | 11:10 | 2024-10-25 | 11:09 | 671.9833 | 0.002 | 1:2 | 0.235 | 1.04 | 37.1
Flora-mall | 30 | 45370 | 2024-09-27 | 11:21 | 2024-10-25 | 11:20 | 671.9833 | 0.002 | 1:2 | 0.198 | 0.87556 | 31.2
Bělocerkevská | 20 | 45370 | 2024-09-28 | 10:32 | 2024-10-26 | 14:25 | 675.8833 | 0.002 | 1:2 | 0.226 | 1 | 35.5
V Holešovičkách 36 | 1 | 45370 | 2024-09-28 | 10:11 | 2024-10-26 | 13:58 | 675.7833 | 0.002 | 1:2 | 0.319 | 1.4133 | 50.2
Na Truhlářce 60 | 32 | 45370 | 2024-09-28 | 10:14 | 2024-10-26 | 14:03 | 675.8167 | 0.002 | 1:2 | 0.138 | 0.60889 | 21.6
Spořilov, Prague | 89 | 45370 | 2024-09-28 | 10:49 | 2024-10-26 | 14:35 | 675.7667 | 0.002 | 1:2 | 0.264 | 1.1689 | 41.5
SSPSaG | 100 | 45370 | 2024-09-27 | 8:53 | 2024-10-25 | 9:00 | 672.1167 | 0.002 | 1:2 | 0.259 | 1.1467 | 40.9
SSPSaG | 43 | 45370 | 2024-09-27 | 8:58 | 2024-10-25 | 9:04 | 672.1 | 0.002 | 1:2 | 0.212 | 0.93778 | 33.4
SSPSaG | 13 | 45370 | 2024-09-27 | 9:04 | 2024-10-25 | 9:06 | 672.0333 | 0.002 | 1:2 | 0.197 | 0.87111 | 31.1
SSPSaG | 29 | 45370 | 2024-09-27 | 9:07 | 2024-10-25 | 9:11 | 672.0667 | 0.002 | 1:2 | 0.197 | 0.87111 | 31.1

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012432b
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Legerova AIM | DDU-93 | 2024-09-27 | 7:52 | 2024-10-25 | 8:00 | 11.41 | 987.29 | 'PRG01
Ječná 39 | 6 | 2024-09-27 | 8:00 | 2024-10-25 | 8:09 | 11.41 | 987.29 | PRG02
Ječná / Štěpánská | 33 | 2024-09-27 | 8:28 | 2024-10-25 | 8:30 | 11.41 | 987.29 | PRG03
V Botanice 4 (KÚ) | 91 | 2024-09-27 | 8:40 | 2024-10-25 | 8:38 | 11.41 | 987.29 | PRG04
Plzeňská 38a | 87 | 2024-09-27 | 9:20 | 2024-10-25 | 9:22 | 11.41 | 987.29 | PRG05
Radlická / Klicperova | 21 | 2024-09-27 | 9:49 | 2024-10-25 | 9:45 | 11.41 | 987.29 | PRG06
Újezd | 8 | 2024-09-27 | 10:02 | 2024-10-25 | 9:57 | 11.41 | 987.29 | PRG07
Smetanovo nábřeží | 38 | 2024-09-27 | 10:15 | 2024-10-25 | 10:15 | 11.41 | 987.29 | PRG08
nám. Republiky AIM | 14 | 2024-09-27 | 10:26 | 2024-10-25 | 10:24 | 11.41 | 987.29 | PRG09
Florenc | 4 | 2024-09-27 | 10:57 | 2024-10-25 | 10:59 | 11.41 | 987.29 | PRG10
Veletržní/Sochařská | 2 | 2024-09-27 | 10:42 | 2024-10-25 | 10:46 | 11.41 | 987.29 | PRG11
Československé armády | 5 | 2024-09-28 | 9:35 | 2024-10-26 | 13:14 | 11.29 | 987.9 | PRG12
Patočkova | 25 | 2024-09-28 | 9:54 | 2024-10-26 | 13:35 | 11.29 | 987.9 | PRG13
J.Želivského / Biskupcova | 18 | 2024-09-27 | 11:10 | 2024-10-25 | 11:09 | 11.41 | 987.29 | PRG14
Flora-mall | 30 | 2024-09-27 | 11:21 | 2024-10-25 | 11:20 | 11.41 | 987.29 | PRG15
Bělocerkevská | 20 | 2024-09-28 | 10:32 | 2024-10-26 | 14:25 | 11.29 | 987.9 | PRG16
V Holešovičkách 36 | 1 | 2024-09-28 | 10:11 | 2024-10-26 | 13:58 | 11.29 | 987.9 | PRG17
Na Truhlářce 60 | 32 | 2024-09-28 | 10:14 | 2024-10-26 | 14:03 | 11.29 | 987.9 | PRG18
Spořilov, Prague | 89 | 2024-09-28 | 10:49 | 2024-10-26 | 14:35 | 11.29 | 987.9 | PRG19
SSPSaG | 100 | 2024-09-27 | 8:53 | 2024-10-25 | 9:00 | 11.41 | 987.29 | PRG27
SSPSaG | 43 | 2024-09-27 | 8:58 | 2024-10-25 | 9:04 | 11.41 | 987.29 | PRG27
SSPSaG | 13 | 2024-09-27 | 9:04 | 2024-10-25 | 9:06 | 11.41 | 987.29 | PRG27
SSPSaG | 29 | 2024-09-27 | 9:07 | 2024-10-25 | 9:11 | 11.41 | 987.29 | PRG27