## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 19.12.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 24.12.2024
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | H. Rhein, R. Kulpa, M. Lažan |  |  |  | pollutant: | NO2 |  | date: | 23.12.2024 |  |  | checked on: | 30.12.2024
project: | Ostrava 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | T. Hangartner
reference: | Nov. 2024 results corrected to meteo |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012435a
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate corrected for actual conditions (T); further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Českobratrská (referenční bod) | DDU-194 | 45245 | 2024-11-07 | 18:31 | 2024-12-07 | 13:58 | 715.45 | 0.001 | 1:2 | 0.169 | 0.74889 | 26.5
Hrabůvka zastávka | 197 | 45245 | 2024-11-07 | 18:06 | 2024-12-07 | 11:50 | 713.7333 | 0.001 | 1:2 | 0.121 | 0.53556 | 19
Hrabůvka odborářská ulice | 155 | 45245 | 2024-11-07 | 18:04 | 2024-12-07 | 11:47 | 713.7167 | 0.001 | 1:2 | 0.099 | 0.43778 | 15.5
Hlučínská / Koksární | 186 | 45245 | 2024-11-07 | 17:19 | 2024-12-07 | 13:40 | 716.35 | 0.001 | 1:2 | 0.189 | 0.83778 | 29.6
Sokolská Soud | - | [11 empty] | sampler not received
Bělský les - přechod | 152 | 45245 | 2024-11-07 | 17:53 | 2024-12-07 | 14:10 | 716.2833 | 0.001 | 1:2 | 0.161 | 0.71333 | 25.2
Bílovecká - (Svinov) | 168 | 45245 | 2024-11-07 | 17:05 | 2024-12-07 | 13:40 | 716.5833 | 0.001 | 1:2 | 0.164 | 0.72667 | 25.6
Ocelářská | 165 | 45245 | 2024-11-07 | 17:36 | 2024-12-07 | 12:22 | 714.7667 | 0.001 | 1:2 | 0.259 | 1.1489 | 40.6
Rudná 2 | 151 | 45245 | 2024-11-07 | 16:45 | 2024-12-07 | 12:30 | 715.75 | 0.001 | 1:2 | 0.193 | 0.85556 | 30.2
17. Listopadu Poruba | 162 | 45245 | 2024-11-07 | 16:54 | 2024-12-07 | 13:20 | 716.4333 | 0.001 | 1:2 | 0.174 | 0.77111 | 27.2

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012435a
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Českobratrská (referenční bod) | DDU-194 | 2024-11-07 | 18:31 | 2024-12-07 | 13:58 | 3.14 | 990.79 | OVA1
Hrabůvka zastávka | 197 | 2024-11-07 | 18:06 | 2024-12-07 | 11:50 | 3.14 | 990.79 | OVA2
Hrabůvka odborářská ulice | 155 | 2024-11-07 | 18:04 | 2024-12-07 | 11:47 | 3.14 | 990.79 | OVA3
Hlučínská / Koksární | 186 | 2024-11-07 | 17:19 | 2024-12-07 | 13:40 | 3.14 | 990.79 | OVA4
Sokolská Soud | - | [6 empty] | missing - OVA5
Bělský les - přechod | 152 | 2024-11-07 | 17:53 | 2024-12-07 | 14:10 | 3.14 | 990.79 | OVA6
Bílovecká - (Svinov) | 168 | 2024-11-07 | 17:05 | 2024-12-07 | 13:40 | 3.14 | 990.79 | OVA7
Ocelářská | 165 | 2024-11-07 | 17:36 | 2024-12-07 | 12:22 | 3.14 | 990.79 | OVA8
Rudná 2 | 151 | 2024-11-07 | 16:45 | 2024-12-07 | 12:30 | 3.14 | 990.79 | OVA9
17. Listopadu Poruba | 162 | 2024-11-07 | 16:54 | 2024-12-07 | 13:20 | 3.14 | 990.79 | OVA10