## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 29.11.2024 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 03.12.2024
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | H. Rhein, R. Kulpa, M. Lažan |  |  |  | pollutant: | NO2 |  | date: | 02.12.2024 |  |  | checked on: | 04.12.2024
project: | Prague 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | T. Hangartner
reference: | Nov. 2024 results corrected to meteo |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012434b
[5 empty] | protective filter: | yes | [5 empty] | pages: | 2
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate corrected for actual conditions (T); further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Legerova AIM | DDU-17 | 45370 | 2024-10-25 | 8:00 | 2024-11-22 | 8:02 | 672.0333 | 0.002 | 1:2 | 0.201 | 0.88889 | 32.7
Ječná 39 | 16 | 45370 | 2024-10-25 | 8:09 | 2024-11-22 | 8:11 | 672.0333 | 0.002 | 1:2 | 0.316 | 1.4 | 51.5
Ječná / Štěpánská | 36 | 45370 | 2024-10-25 | 8:30 | 2024-11-22 | 8:30 | 672 | 0.002 | 1:2 | 0.256 | 1.1333 | 41.7
V Botanice 4 (KÚ) | 12 | 45370 | 2024-10-25 | 8:38 | 2024-11-22 | 8:40 | 672.0333 | 0.002 | 1:2 | 0.255 | 1.1289 | 41.5
Plzeňská 38a | 39 | 45370 | 2024-10-25 | 9:22 | 2024-11-22 | 9:20 | 671.9667 | 0.002 | 1:2 | 0.324 | 1.4356 | 52.8
Radlická / Klicperova | 19 | 45370 | 2024-10-25 | 9:45 | 2024-11-22 | 9:47 | 672.0333 | 0.002 | 1:2 | 0.247 | 1.0933 | 40.2
Újezd | 9 | 45370 | 2024-10-25 | 9:57 | 2024-11-22 | 9:55 | 671.9667 | 0.002 | 1:2 | 0.175 | 0.77333 | 28.5
Smetanovo nábřeží | 92 | 45370 | 2024-10-25 | 10:15 | 2024-11-22 | 10:05 | 671.8333 | 0.002 | 1:2 | 0.266 | 1.1778 | 43.4
nám. Republiky AIM | 31 | 45370 | 2024-10-25 | 10:24 | 2024-11-22 | 10:13 | 671.8167 | 0.002 | 1:2 | 0.153 | 0.67556 | 24.9
Florenc | 44 | 45370 | 2024-10-25 | 10:59 | 2024-11-22 | 10:19 | 671.3333 | 0.002 | 1:2 | 0.225 | 0.99556 | 36.7
Veletržní/Sochařská | 35 | 45370 | 2024-10-25 | 10:46 | 2024-11-22 | 12:45 | 673.9833 | 0.002 | 1:2 | 0.227 | 1.0044 | 36.9
Československé armády | 90 | 45370 | 2024-10-26 | 13:14 | 2024-11-22 | 12:57 | 647.7167 | 0.002 | 1:2 | 0.18 | 0.79556 | 30.4
Patočkova | 11 | 45370 | 2024-10-26 | 13:35 | 2024-11-22 | 13:12 | 647.6167 | 0.002 | 1:2 | 0.226 | 1 | 38.3
J.Želivského / Biskupcova | 3 | 45370 | 2024-10-25 | 11:09 | 2024-11-22 | 10:29 | 671.3333 | 0.002 | 1:2 | 0.244 | 1.08 | 39.8
Flora-mall | 23 | 45370 | 2024-10-25 | 11:20 | 2024-11-22 | 10:39 | 671.3167 | 0.002 | 1:2 | 0.21 | 0.92889 | 34.2
Bělocerkevská | 24 | 45370 | 2024-10-26 | 14:25 | 2024-11-22 | 14:06 | 647.6833 | 0.002 | 1:2 | 0.181 | 0.8 | 30.6
V Holešovičkách 36 | 7 | 45370 | 2024-10-26 | 13:58 | 2024-11-22 | 13:38 | 647.6667 | 0.002 | 1:2 | 0.302 | 1.3378 | 51.2
Na Truhlářce 60 | 15 | 45370 | 2024-10-26 | 14:03 | 2024-11-22 | 13:43 | 647.6667 | 0.002 | 1:2 | 0.134 | 0.59111 | 22.6
Spořilov, Prague | 41 | 45370 | 2024-10-26 | 14:35 | 2024-11-22 | 14:21 | 647.7667 | 0.002 | 1:2 | 0.222 | 0.98222 | 37.6
SSPSaG 3,7m | 26 | 45370 | 2024-10-25 | 9:00 | 2024-11-22 | 8:52 | 671.8667 | 0.002 | 1:2 | 0.23 | 1.0178 | 37.5
SSPSaG 7,9m | 34 | 45370 | 2024-10-25 | 9:04 | 2024-11-22 | 8:57 | 671.8833 | 0.002 | 1:2 | 0.219 | 0.96889 | 35.7
SSPSaG 13,3m | 10 | 45370 | 2024-10-25 | 9:06 | 2024-11-22 | 9:02 | 671.9333 | 0.002 | 1:2 | 0.214 | 0.94667 | 34.8
SSPSaG 17,5m | 99 | 45370 | 2024-10-25 | 9:11 | 2024-11-22 | 9:06 | 671.9167 | 0.002 | 1:2 | 0.195 | 0.86222 | 31.7

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012434b
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Legerova AIM | DDU-17 | 2024-10-25 | 8:00 | 2024-11-22 | 8:02 | 6.5 | 992.31 | PRG01
Ječná 39 | 16 | 2024-10-25 | 8:09 | 2024-11-22 | 8:11 | 6.5 | 992.31 | PRG02
Ječná / Štěpánská | 36 | 2024-10-25 | 8:30 | 2024-11-22 | 8:30 | 6.5 | 992.31 | PRG03
V Botanice 4 (KÚ) | 12 | 2024-10-25 | 8:38 | 2024-11-22 | 8:40 | 6.5 | 992.31 | PRG04
Plzeňská 38a | 39 | 2024-10-25 | 9:22 | 2024-11-22 | 9:20 | 6.5 | 992.31 | PRG05
Radlická / Klicperova | 19 | 2024-10-25 | 9:45 | 2024-11-22 | 9:47 | 6.5 | 992.31 | PRG06
Újezd | 9 | 2024-10-25 | 9:57 | 2024-11-22 | 9:55 | 6.5 | 992.31 | PRG07
Smetanovo nábřeží | 92 | 2024-10-25 | 10:15 | 2024-11-22 | 10:05 | 6.5 | 992.31 | PRG08
nám. Republiky AIM | 31 | 2024-10-25 | 10:24 | 2024-11-22 | 10:13 | 6.5 | 992.31 | PRG09
Florenc | 44 | 2024-10-25 | 10:59 | 2024-11-22 | 10:19 | 6.5 | 992.31 | PRG10
Veletržní/Sochařská | 35 | 2024-10-25 | 10:46 | 2024-11-22 | 12:45 | 6.5 | 992.31 | PRG11
Československé armády | 90 | 2024-10-26 | 13:14 | 2024-11-22 | 12:57 | 6.23 | 992.13 | PRG12
Patočkova | 11 | 2024-10-26 | 13:35 | 2024-11-22 | 13:12 | 6.23 | 992.13 | PRG13
J.Želivského / Biskupcova | 3 | 2024-10-25 | 11:09 | 2024-11-22 | 10:29 | 6.5 | 992.31 | PRG14
Flora-mall | 23 | 2024-10-25 | 11:20 | 2024-11-22 | 10:39 | 6.5 | 992.31 | PRG15
Bělocerkevská | 24 | 2024-10-26 | 14:25 | 2024-11-22 | 14:06 | 6.23 | 992.13 | PRG16
V Holešovičkách 36 | 7 | 2024-10-26 | 13:58 | 2024-11-22 | 13:38 | 6.23 | 992.13 | PRG17
Na Truhlářce 60 | 15 | 2024-10-26 | 14:03 | 2024-11-22 | 13:43 | 6.23 | 992.13 | PRG18
Spořilov, Prague | 41 | 2024-10-26 | 14:35 | 2024-11-22 | 14:21 | 6.23 | 992.13 | PRG19
SSPSaG 3,7m | 26 | 2024-10-25 | 9:00 | 2024-11-22 | 8:52 | 6.5 | 992.31 | PRG27
SSPSaG 7,9m | 34 | 2024-10-25 | 9:04 | 2024-11-22 | 8:57 | 6.5 | 992.31 | PRG27
SSPSaG 13,3m | 10 | 2024-10-25 | 9:06 | 2024-11-22 | 9:02 | 6.5 | 992.31 | PRG27
SSPSaG 17,5m | 99 | 2024-10-25 | 9:11 | 2024-11-22 | 9:06 | 6.5 | 992.31 | PRG27