## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe e.V. |  |  |  | date received: | 15.01.2025 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 20.01.2025
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | U. Kunz
contact person: | Michael Lažan, Nikola Carić |  |  |  | pollutant: | NO2 |  | date: | 17.01.2025 |  |  | checked on: | 22.01.2025
project: | Ostrava 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | N. Spichtig
reference: | 2024-12-01 |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012437a
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
OVA1 - Českobratrská (referenční bod) | DDU-239 | 45245 | 2024-12-07 | 13:58 | 2025-01-04 | 17:38 | 675.6667 | 0.001 | 1:2 | 0.165 | 0.73111 | 24.57
OVA2 - Hrabůvka zastávka | 28 | 45245 | 2024-12-07 | 11:50 | 2025-01-04 | 16:01 | 676.1833 | 0.001 | 1:2 | 0.123 | 0.54444 | 18.283
OVA3 - Hrabůvka odborářská ulice | 214 | 45245 | 2024-12-07 | 11:47 | 2025-01-04 | 15:55 | 676.1333 | 0.001 | 1:2 | 0.105 | 0.46444 | 15.597
OVA4 - Hlučínská / Koksární | 249 | 45245 | 2024-12-07 | 13:40 | 2025-01-04 | 17:21 | 675.6833 | 0.001 | 1:2 | 0.153 | 0.67778 | 22.777
OVA5 - Sokolská Soud | - | [11 empty] | sampler not received
OVA6 - Bělský les - přechod | 226 | 45245 | 2024-12-07 | 14:10 | 2025-01-04 | 16:10 | 674 | 0.001 | 1:2 | 0.134 | 0.59333 | 19.989
OVA7 - Bílovecká - (Svinov) | 217 | 45245 | 2024-12-07 | 13:40 | 2025-01-04 | 16:52 | 675.2 | 0.001 | 1:2 | 0.15 | 0.66444 | 22.345
OVA8 - Ocelářská | 117 | 45245 | 2024-12-07 | 12:22 | 2025-01-04 | 16:30 | 676.1333 | 0.001 | 1:2 | 0.218 | 0.96667 | 32.464
OVA9 - Rudná 2 | 27 | 45245 | 2024-12-07 | 12:30 | 2025-01-04 | 16:38 | 676.1333 | 0.001 | 1:2 | 0.143 | 0.63333 | 21.269
OVA10 - 17. Listopadu Poruba | 213 | 45245 | 2024-12-07 | 13:20 | 2025-01-04 | 16:45 | 675.4167 | 0.001 | 1:2 | 0.148 | 0.65556 | 22.039

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012437a
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
OVA1 - Českobratrská (referenční bod) | DDU-239 | 2024-12-07 | 13:58 | 2025-01-04 | 17:38 | 1.59 | 992.42
OVA2 - Hrabůvka zastávka | 28 | 2024-12-07 | 11:50 | 2025-01-04 | 16:01 | 1.59 | 992.42
OVA3 - Hrabůvka odborářská ulice | 214 | 2024-12-07 | 11:47 | 2025-01-04 | 15:55 | 1.59 | 992.42
OVA4 - Hlučínská / Koksární | 249 | 2024-12-07 | 13:40 | 2025-01-04 | 17:21 | 1.59 | 992.42
OVA5 - Sokolská Soud | - | [6 empty] | missing
OVA6 - Bělský les - přechod | 226 | 2024-12-07 | 14:10 | 2025-01-04 | 16:10 | 1.59 | 992.42
OVA7 - Bílovecká - (Svinov) | 217 | 2024-12-07 | 13:40 | 2025-01-04 | 16:52 | 1.59 | 992.42 | loosened cap OVA - PRG
OVA8 - Ocelářská | 117 | 2024-12-07 | 12:22 | 2025-01-04 | 16:30 | 1.59 | 992.42
OVA9 - Rudná 2 | 27 | 2024-12-07 | 12:30 | 2025-01-04 | 16:38 | 1.59 | 992.42
OVA10 - 17. Listopadu Poruba | 213 | 2024-12-07 | 13:20 | 2025-01-04 | 16:45 | 1.59 | 992.42