## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Czech Hydrometeorological Institute |  |  |  | date received: | 06.01.2025 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 10.01.2025
customer ID: | TMP |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | Mr. Ondřej Vlček |  |  |  | pollutant: | NO2 |  | date: | 07.01.2025 |  |  | checked on: | 10.01.2025
project: | Prague 2024, CHMI |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | T. Hangartner
reference: | Dec. 2024 results corrected to meteo |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | TMP012412b
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate corrected for actual conditions (T); further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Legerova AIM c | TMP-65 | 45251 | 2024-11-22 | 8:04 | 2024-12-20 | 8:03 | 671.9833 | 0.001 | 1 | 0.356 | 0.78889 | 29.5
Legerova AIM c - kryt Passam | 68 | 45251 | 2024-11-22 | 8:06 | 2024-12-20 | 8:03 | 671.95 | 0.001 | 1 | 0.384 | 0.85111 | 31.9
nám. Republiky AIM c | 99 | 45251 | 2024-11-22 | 10:14 | 2024-12-20 | 10:58 | 672.7333 | 0.001 | 1 | 0.284 | 0.62889 | 23.5
ZŠ a MŠ Grafická | 74 | 45251 | 2024-11-22 | 9:28 | 2024-12-20 | 9:36 | 672.1333 | 0.001 | 1 | 0.249 | 0.55111 | 20.6
Gymnázium Na Zatlance | 56 | 45251 | 2024-11-22 | 9:39 | 2024-12-20 | 10:02 | 672.3833 | 0.001 | 1 | 0.311 | 0.68889 | 25.8
SPŠE Ječná | 61 | 45251 | 2024-11-22 | 8:15 | 2024-12-20 | 8:19 | 672.0667 | 0.001 | 1 | 0.302 | 0.66889 | 25
G, SOŠ, ZŠ, MŠ sluch. post. | 90 | 45251 | 2024-11-22 | 8:23 | 2024-12-20 | 8:27 | 672.0667 | 0.001 | 1 | 0.301 | 0.66667 | 24.9
MŠ Jílkova | 70 | 45251 | 2024-11-22 | 13:20 | 2024-12-21 | 9:10 | 691.8333 | 0.001 | 1 | 0.242 | 0.53556 | 19.5

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement TMP012412b
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Legerova AIM c | TMP-65 | 2024-11-22 | 8:04 | 2024-12-20 | 8:03 | 3.9 | 990.54
Legerova AIM c - kryt Passam | 68 | 2024-11-22 | 8:06 | 2024-12-20 | 8:03 | 3.9 | 990.54
nám. Republiky AIM c | 99 | 2024-11-22 | 10:14 | 2024-12-20 | 10:58 | 3.9 | 990.54
ZŠ a MŠ Grafická | 74 | 2024-11-22 | 9:28 | 2024-12-20 | 9:36 | 3.9 | 990.54
Gymnázium Na Zatlance | 56 | 2024-11-22 | 9:39 | 2024-12-20 | 10:02 | 3.9 | 990.54
SPŠE Ječná | 61 | 2024-11-22 | 8:15 | 2024-12-20 | 8:19 | 3.9 | 990.54
G, SOŠ, ZŠ, MŠ sluch. post. | 90 | 2024-11-22 | 8:23 | 2024-12-20 | 8:27 | 3.9 | 990.54
MŠ Jílkova | 70 | 2024-11-22 | 13:20 | 2024-12-21 | 9:10 | 3.9 | 990.54

## Annex - Multiple Measurements
Representation of multiple determination/s (dublicates and/or triplicates)
Annex: Test Report Air Pollution Measurement TMP012412b
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | measuring period |  |  | n | result
| start |  | exp. time |  | m analyte/sampler |  |  | concentration NO2
[5 empty] | mean | standard deviation | coefficient of variation | mean | standard deviation | coefficient of variation
| date | time | [h] |  | [ug] | [ug] | [%] | [ug/m3] | [ug/m3] | [%]
Legerova AIM c | 2024-11-22 | 8:04 | 671.9833 | 2 | 0.82 | 0.03111 | 3.7939 | 30.7 | 1.2 | 3.9088