## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 06.01.2025 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 09.01.2025
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2− |  |  | created by: | K. Bodei
contact person: | H. Rhein, R. Kulpa, M. Lažan |  |  |  | pollutant: | NO2 |  | date: | 07.01.2025 |  |  | checked on: | 13.01.2025
project: | Prague 2024, Senzorvzduchu |  |  |  | limit of detection: | 0.5 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | T. Hangartner
reference: | 2024-12-01 |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012436a
[5 empty] | protective filter: | yes | [5 empty] | pages: | 2
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Legerova AIM | DDU-191 | 45532 | 2024-11-22 | 8:02 | 2024-12-20 | 8:02 | 672 | 0.001 | 1:2 | 0.192 | 0.85111 | 28.759
Ječná 39 | 188 | 45532 | 2024-11-22 | 8:11 | 2024-12-20 | 8:12 | 672.0167 | 0.001 | 1:2 | 0.309 | 1.3711 | 46.328
Ječná / Štěpánská | 176 | 45532 | 2024-11-22 | 8:30 | 2024-12-20 | 8:35 | 672.0833 | 0.001 | 1:2 | 0.287 | 1.2733 | 43.02
V Botanice 4 (KÚ) | 173 | 45532 | 2024-11-22 | 8:40 | 2024-12-20 | 8:45 | 672.0833 | 0.001 | 1:2 | 0.251 | 1.1133 | 37.614
Plzeňská 38a | 187 | 45532 | 2024-11-22 | 9:20 | 2024-12-20 | 9:28 | 672.1333 | 0.001 | 1:2 | 0.335 | 1.4867 | 50.224
Radlická / Klicperova | 192 | 45532 | 2024-11-22 | 9:47 | 2024-12-20 | 10:12 | 672.4167 | 0.001 | 1:2 | 0.276 | 1.2244 | 41.348
Újezd | 196 | 45532 | 2024-11-22 | 9:55 | 2024-12-20 | 10:27 | 672.5333 | 0.001 | 1:2 | 0.171 | 0.75778 | 25.585
Smetanovo nábřeží | 186 | 45532 | 2024-11-22 | 10:05 | 2024-12-20 | 10:45 | 672.6667 | 0.001 | 1:2 | 0.296 | 1.3133 | 44.333
nám. Republiky AIM | 179 | 45532 | 2024-11-22 | 10:13 | 2024-12-20 | 10:58 | 672.75 | 0.001 | 1:2 | 0.152 | 0.67333 | 22.726
Florenc | 195 | 45532 | 2024-11-22 | 10:19 | 2024-12-20 | 11:07 | 672.8 | 0.001 | 1:2 | 0.264 | 1.1711 | 39.524
Veletržní/Sochařská | 197 | 45532 | 2024-11-22 | 12:45 | 2024-12-21 | 8:56 | 692.1833 | 0.001 | 1:2 | 0.243 | 1.0778 | 35.356
Československé armády | 194 | 45532 | 2024-11-22 | 12:57 | 2024-12-21 | 9:03 | 692.1 | 0.001 | 1:2 | 0.218 | 0.96667 | 31.715
Patočkova | 22 | 45370 | 2024-11-22 | 13:12 | 2024-12-21 | 9:14 | 692.0333 | 0.002 | 1:2 | 0.212 | 0.93778 | 30.77
J.Želivského / Biskupcova | 198 | 45532 | 2024-11-22 | 10:29 | 2024-12-20 | 11:20 | 672.85 | 0.001 | 1:2 | 0.274 | 1.2156 | 41.021
Flora-mall | 193 | 45532 | 2024-11-22 | 10:39 | 2024-12-20 | 11:33 | 672.9 | 0.001 | 1:2 | 0.208 | 0.92222 | 31.12
Bělocerkevská | 94 | 45370 | 2024-11-22 | 14:06 | 2024-12-20 | 14:05 | 671.9833 | 0.002 | 1:2 | 0.217 | 0.96 | 32.439
V Holešovičkách 36 | 199 | 45532 | 2024-11-22 | 13:38 | 2024-12-21 | 9:28 | 691.8333 | 0.001 | 1:2 | 0.341 | 1.5133 | 49.669
Na Truhlářce 60 | 181 | 45532 | 2024-11-22 | 13:43 | 2024-12-21 | 9:32 | 691.8167 | 0.001 | 1:2 | 0.154 | 0.68222 | 22.392
Spořilov, Prague | 189 | 45532 | 2024-11-22 | 14:21 | 2024-12-20 | 14:19 | 671.9667 | 0.001 | 1:2 | 0.211 | 0.93556 | 31.614
SSPSaG 3,7m | 185 | 45532 | 2024-11-22 | 8:52 | 2024-12-20 | 9:01 | 672.15 | 0.001 | 1:2 | 0.239 | 1.06 | 35.809
SSPSaG 7,9m | 151 | 45532 | 2024-11-22 | 8:57 | 2024-12-20 | 9:06 | 672.15 | 0.001 | 1:2 | 0.249 | 1.1044 | 37.31
SSPSaG 13,3m | 168 | 45532 | 2024-11-22 | 9:02 | 2024-12-20 | 9:09 | 672.1167 | 0.001 | 1:2 | 0.204 | 0.90444 | 30.555
SSPSaG 17,5m | 167 | 45532 | 2024-11-22 | 9:06 | 2024-12-20 | 9:13 | 672.1167 | 0.001 | 1:2 | 0.191 | 0.84667 | 28.604

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012436a
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Legerova AIM | DDU-191 | 2024-11-22 | 8:02 | 2024-12-20 | 8:02 | 3.9 | 990.54 | PRG01
Ječná 39 | 188 | 2024-11-22 | 8:11 | 2024-12-20 | 8:12 | 3.9 | 990.54 | PRG02
Ječná / Štěpánská | 176 | 2024-11-22 | 8:30 | 2024-12-20 | 8:35 | 3.9 | 990.54 | PRG03
V Botanice 4 (KÚ) | 173 | 2024-11-22 | 8:40 | 2024-12-20 | 8:45 | 3.9 | 990.54 | PRG04
Plzeňská 38a | 187 | 2024-11-22 | 9:20 | 2024-12-20 | 9:28 | 3.9 | 990.54 | PRG05
Radlická / Klicperova | 192 | 2024-11-22 | 9:47 | 2024-12-20 | 10:12 | 3.9 | 990.54 | PRG06
Újezd | 196 | 2024-11-22 | 9:55 | 2024-12-20 | 10:27 | 3.9 | 990.54 | PRG07
Smetanovo nábřeží | 186 | 2024-11-22 | 10:05 | 2024-12-20 | 10:45 | 3.9 | 990.54 | PRG08
nám. Republiky AIM | 179 | 2024-11-22 | 10:13 | 2024-12-20 | 10:58 | 3.9 | 990.54 | PRG09
Florenc | 195 | 2024-11-22 | 10:19 | 2024-12-20 | 11:07 | 3.9 | 990.54 | PRG10
Veletržní/Sochařská | 197 | 2024-11-22 | 12:45 | 2024-12-21 | 8:56 | 3.9 | 990.48 | PRG11
Československé armády | 194 | 2024-11-22 | 12:57 | 2024-12-21 | 9:03 | 3.9 | 990.48 | PRG12
Patočkova | 22 | 2024-11-22 | 13:12 | 2024-12-21 | 9:14 | 3.9 | 990.48 | PRG13
J.Želivského / Biskupcova | 198 | 2024-11-22 | 10:29 | 2024-12-20 | 11:20 | 3.9 | 990.54 | PRG14
Flora-mall | 193 | 2024-11-22 | 10:39 | 2024-12-20 | 11:33 | 3.9 | 990.54 | PRG15
Bělocerkevská | 94 | 2024-11-22 | 14:06 | 2024-12-20 | 14:05 | 3.9 | 990.54 | PRG16
V Holešovičkách 36 | 199 | 2024-11-22 | 13:38 | 2024-12-21 | 9:28 | 3.9 | 990.48 | PRG17
Na Truhlářce 60 | 181 | 2024-11-22 | 13:43 | 2024-12-21 | 9:32 | 3.9 | 990.48 | PRG18
Spořilov, Prague | 189 | 2024-11-22 | 14:21 | 2024-12-20 | 14:19 | 3.9 | 990.54 | PRG19
SSPSaG 3,7m | 185 | 2024-11-22 | 8:52 | 2024-12-20 | 9:01 | 3.9 | 990.54 | PRG27
SSPSaG 7,9m | 151 | 2024-11-22 | 8:57 | 2024-12-20 | 9:06 | 3.9 | 990.54 | PRG27
SSPSaG 13,3m | 168 | 2024-11-22 | 9:02 | 2024-12-20 | 9:09 | 3.9 | 990.54 | PRG27
SSPSaG 17,5m | 167 | 2024-11-22 | 9:06 | 2024-12-20 | 9:13 | 3.9 | 990.54 | PRG27